## Data Tables
[146 empty] | 0 | 40.6795 | 107.364 | 5.7955 | 6.5598 | 1.4624 | 303.1804 | 0.0048239 | 0.0033523
[146 empty] | 1.0466 | 40.6795 | 107.364 | 5.7955 | 6.5598 | 1.4633 | 303.097 | 0.0048282 | 0.0033513
Procedure Blanks |  | 36Ar | 1s | 37Ar | 1s | 38Ar | 1s | 39Ar | 1s | 40Ar | 1s | Intercept Values |  | 36Ar | 1s | r2 |  |  | 37Ar | 1s | r2 |  |  | 38Ar | 1s | r2 |  |  | 39Ar | 1s | r2 |  |  | 40Ar | 1s | r2 |  |  | Sample Parameters |  | Sample | Material | Location | Analyst | Temp | Standard | %1s | J | %1s | Fract | %1s | Volume Correction | Sensitivity | Day | Month | Year | Hour | Min | Resist | Irradiation | Project | Irradiation Constants |  | 40/36(a) | %1s | 38/36(a) | %1s | 39/37(ca) | %1s | 38/37(ca) | %1s | 36/37(ca) | %1s | 40/39(k) | %1s | 38/39(k) | %1s | 36/38(cl) | %1s | K/Ca | %1s | K/Cl | %1s | Ca/Cl | %1s | Incremental Heating |  |  | 36Ar(a) | 37Ar(ca) | 38Ar(cl) | 39Ar(k) | 40Ar(r) | Age | ± 2s | 40Ar(r) | 39Ar(k) | K/Ca | ± 2s | Normal Isochron |  |  | 39(k)/36(a) | ± 2s | 40(a+r)/36(a) | ± 2s |  |  | r.i. | Inverse Isochron |  |  | 39(k)/40(a+r) | ± 2s | 36(a)/40(a+r) | ± 2s |  |  | r.i. | Degassing Patterns |  |  | 36Ar(a) | 36Ar(ca) | 36Ar(cl) | 37Ar(ca) | 38Ar(a) | 38Ar(k) | 38Ar(ca) | 38Ar(cl) | 39Ar(k) | 39Ar(ca) | 40Ar(r) | 40Ar(a) | 40Ar(k) | Additional Ratios |  |  | 40(r)/39(k) | 1s | 40(r+a) | 1s | 37Ar(decay) | 39Ar(decay) | 40Ar(moles) | 1.0466 | 328.063 | 176.4396 | 0.60013 | 0.51208 | 1.4633 | 302.8524 | 0.0048321 | 0.0033486
[46 empty] | (in Ma) | [6 empty] | (mol/vol) | [40 empty] | (Ma) |  | (%) | (%) | [48 empty] | 1.1634 | 328.063 | 176.4396 | 0.60013 | 0.51208 | 1.4625 | 302.4634 | 0.0048355 | 0.0033443
[146 empty] | 1.1634 | 257.8356 | 266.6056 | 1.1175 | 1.2028 | 1.4609 | 301.9564 | 0.0048381 | 0.0033387
M2BT060 | 5.5 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT060 | 5.5 | 0.03135 | 1.434e-05 | 0.99941 | LIN | # | 0.00055857 | 1.3076e-05 | 0.99805 | LIN | # | 0.0067676 | 4.8976e-06 | 0.99728 | LIN | # 1 3 10 | 0.04586 | 6.2312e-05 | 0.99924 | LIN | # 1 | 9.5421 | 0.0017602 | 0.99984 | LIN | # 1 | M2BT060 | 5.5 | HS 109 | Biotite | Scottish Carboniferous | msp | 5.5 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 9 | 23 | 1 | EK42 | S Carboniferous | M2BT060 | 5.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT060 | 5.5 |  | 0.031719 | 0.0032028 | 0.00017203 | 0.046014 | 0.16597 | 74.02 | ± 33.34 | 1.7399 | 1.0466 | 6.1777 | 0.38211 | M2BT060 | 5.5 |  | 1.4507 | 0.012787 | 300.7324 | 2.448 |  |  | 0.92145 | M2BT060 | 5.5 |  | 0.0048238 | 1.6519e-05 | 0.0033252 | 2.7068e-05 |  |  | 0.0052802 | M2BT060 | 5.5 |  | 0.031719 | 8.6669e-07 | 0 | 0.0032028 | 0.0059284 | 0.0007054 | 6.9502e-07 | 0.00017203 | 0.046014 | 2.1606e-06 | 0.16597 | 9.3731 | 1.7025e-05 | M2BT060 | 5.5 |  | 3.6069 | 0.82913 | 9.5391 | 0.0018298 | 5.7338 | 1.0006 | 1.9078e-16 | 2.033 | 257.8356 | 266.6056 | 1.1175 | 1.2028 | 1.4585 | 301.366 | 0.0048397 | 0.0033321
M2BT061 | 6 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT061 | 6 | 0.0005104 | 3.5268e-05 |  | AVE | # | 0.00069082 | 2.3631e-05 |  | AVE | # 10 | 0.00018445 | 2.4914e-05 |  | AVE | # 8 | 0.0051291 | 1.381e-05 | 0.97663 | LIN | # 9 | 0.21871 | 0.00012642 | 0.99308 | LIN | # 1 2 3 4 | M2BT061 | 6 | HS 109 | Biotite | Scottish Carboniferous | jgi | 6 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 10 | 9 | 1 | EK42 | S Carboniferous | M2BT061 | 6 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT061 | 6 |  | 0.0005054 | 0.0039706 | 9.5129e-06 | 0.005135 | 0.066363 | 252.25 | ± 75.81 | 30.7649 | 0.11679 | 0.55611 | 0.044025 | M2BT061 | 6 |  | 10.1603 | 1.4536 | 426.8081 | 61.0257 |  |  | 0.99826 | M2BT061 | 6 |  | 0.023805 | 0.00020101 | 0.002343 | 0.000335 |  |  | 0.018939 | M2BT061 | 6 |  | 0.0005054 | 1.0744e-06 | 0 | 0.0039706 | 9.4459e-05 | 7.872e-05 | 8.6161e-07 | 9.5129e-06 | 0.005135 | 2.6785e-06 | 0.066363 | 0.14935 | 1.9e-06 | M2BT061 | 6 |  | 12.9237 | 2.081 | 0.21571 | 0.00051574 | 5.7374 | 1.0006 | 4.3142e-18 | 2.033 | 298.0627 | 294.4306 | 15.935 | 14.1098 | 1.4556 | 300.7324 | 0.0048403 | 0.0033251
M2BT062 | 6.5 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT062 | 6.5 | 0.0015553 | 1.2942e-05 | 0.91017 | LIN | # | 0.0024517 | 1.0264e-05 | 0.93143 | LIN | # 4 10 | 0.00087866 | 3.1286e-05 |  | AVE | # 8 12 | 0.038117 | 2.2047e-05 | 0.99817 | LIN | # | 0.97919 | 0.000306 | 0.99958 | LIN | # | M2BT062 | 6.5 | HS 109 | Biotite | Scottish Carboniferous | jgi | 6.5 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 10 | 42 | 1 | EK42 | S Carboniferous | M2BT062 | 6.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT062 | 6.5 |  | 0.0015602 | 0.014172 | 1.1129e-06 | 0.038236 | 0.51513 | 262.22 | ± 4.38 | 52.7696 | 0.86966 | 1.1602 | 0.042635 | M2BT062 | 6.5 |  | 24.5066 | 0.48715 | 625.6664 | 12.3712 |  |  | 0.99103 | M2BT062 | 6.5 |  | 0.039169 | 0.00010408 | 0.0015983 | 3.1603e-05 |  |  | 0.027463 | M2BT062 | 6.5 |  | 0.0015602 | 3.8349e-06 | 0 | 0.014172 | 0.0002916 | 0.00058615 | 3.0753e-06 | 1.1129e-06 | 0.038236 | 9.5602e-06 | 0.51513 | 0.46104 | 1.4147e-05 | M2BT062 | 6.5 |  | 13.4725 | 0.12103 | 0.97618 | 0.00058629 | 5.74 | 1.0006 | 1.9524e-17 | 4.3122 | 298.0627 | 294.4306 | 15.935 | 14.1098 | 1.4524 | 300.0988 | 0.0048397 | 0.0033181
M2BT063 | 7 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT063 | 7 | 0.00080283 | 1.4912e-05 |  | AVE | # 1 2 | 0.00050003 | 1.1123e-05 | 0.97378 | LIN | # | 0.0016009 | 3.9435e-06 | 0.95486 | LIN | # 6 9 11 | 0.099856 | 3.4612e-05 | 0.9996 | LIN | # | 1.78 | 0.00047164 | 0.99973 | LIN | # | M2BT063 | 7 | HS 109 | Biotite | Scottish Carboniferous | jgi | 7 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 11 | 9 | 1 | EK42 | S Carboniferous | M2BT063 | 7 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT063 | 7 | 4 | 0.00080169 | 0.0028683 | 0 | 0.10021 | 1.54 | 296.25 | ± 1.82 | 86.6664 | 2.2792 | 15.0224 | 0.91261 | M2BT063 | 7 | 4 | 124.9946 | 5.0728 | 2216.5026 | 89.8473 |  |  | 0.99844 | M2BT063 | 7 | 4 | 0.056393 | 0.00012761 | 0.00045116 | 1.8288e-05 |  |  | 0.006535 | M2BT063 | 7 | 4 | 0.00080169 | 7.7617e-07 | 0 | 0.0028683 | 0.00014984 | 0.0015362 | 6.2242e-07 | 0 | 0.10021 | 1.935e-06 | 1.54 | 0.2369 | 3.7076e-05 | M2BT063 | 7 | 4 | 15.3687 | 0.05108 | 1.7769 | 0.00068788 | 5.7421 | 1.0006 | 3.554e-17 | 4.3122 | 291.0762 | 293.3353 | 34.8383 | 40.704 | 1.4491 | 299.5084 | 0.004838 | 0.0033116
M2BT064 | 7.5 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT064 | 7.5 | 0.0011169 | 1.9761e-05 |  | AVE | # | 0.00045747 | 1.4796e-05 | 0.99193 | LIN | # 3 6 | 0.0033003 | 8.4725e-06 | 0.97283 | LIN | # 4 7 | 0.22956 | 6.3115e-05 | 0.99973 | LIN | # | 3.8223 | 0.0010081 | 0.9997 | LIN | # | M2BT064 | 7.5 | HS 109 | Biotite | Scottish Carboniferous | jgi | 7.5 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 11 | 38 | 1 | EK42 | S Carboniferous | M2BT064 | 7.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT064 | 7.5 | 4 | 0.0011196 | 0.0026228 | 0 | 0.23038 | 3.4884 | 292.21 | ± 1.13 | 91.3355 | 5.24 | 37.7712 | 2.9329 | M2BT064 | 7.5 | 4 | 205.7762 | 7.7757 | 3411.2854 | 128.7244 |  |  | 0.99837 | M2BT064 | 7.5 | 4 | 0.060322 | 0.0001302 | 0.00029314 | 1.1062e-05 |  |  | 0.0042765 | M2BT064 | 7.5 | 4 | 0.0011196 | 7.0972e-07 | 0 | 0.0026228 | 0.00020925 | 0.0035318 | 5.6914e-07 | 0 | 0.23038 | 1.7693e-06 | 3.4884 | 0.33084 | 8.5242e-05 | M2BT064 | 7.5 | 4 | 15.1416 | 0.0317 | 3.8192 | 0.001127 | 5.7444 | 1.0006 | 7.6386e-17 | 9.5522 | 291.0762 | 293.3353 | 34.8383 | 40.704 | 1.4458 | 299.0014 | 0.0048353 | 0.003306
M2BT065 | 8 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT065 | 8 | 0.00086662 | 1.9042e-05 |  | AVE | # | 0.00044672 | 9.6089e-06 | 0.9976 | LIN | # | 0.0047494 | 1.629e-05 | 0.92242 | LIN | # 1 12 | 0.34775 | 8.3319e-05 | 0.99981 | LIN | # 1 | 5.5721 | 0.00055558 | 0.99996 | LIN | # 1 | M2BT065 | 8 | HS 109 | Biotite | Scottish Carboniferous | jgi | 8 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 12 | 6 | 1 | EK42 | S Carboniferous | M2BT065 | 8 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT065 | 8 | 4 | 0.00086633 | 0.0025615 | 0 | 0.34901 | 5.313 | 293.66 | ± 0.83 | 95.4009 | 7.938 | 58.5885 | 3.5488 | M2BT065 | 8 | 4 | 402.8562 | 18.8344 | 6428.2284 | 300.2475 |  |  | 0.99901 | M2BT065 | 8 | 4 | 0.06267 | 0.00013005 | 0.00015556 | 7.266e-06 |  |  | 0.00075522 | M2BT065 | 8 | 4 | 0.00086633 | 6.9313e-07 | 0 | 0.0025615 | 0.00016192 | 0.0053503 | 5.5584e-07 | 0 | 0.34901 | 1.728e-06 | 5.313 | 0.256 | 0.00012913 | M2BT065 | 8 | 4 | 15.2231 | 0.02331 | 5.569 | 0.00075336 | 5.7466 | 1.0006 | 1.1138e-16 | 9.5522 | 294.4871 | 292.8272 | 62.1373 | 55.0397 | 1.4429 | 298.6124 | 0.0048319 | 0.0033017
M2BT066 | 8.5 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT066 | 8.5 | 0.00065652 | 1.3505e-05 | 0.71075 | LIN | # 2 | 0.00031764 | 1.8434e-05 | 0.9935 | LIN | # 2 | 0.0046868 | 2.079e-05 | 0.8295 | LIN | # 2 11 | 0.34949 | 0.00012427 | 0.99947 | LIN | # | 5.556 | 0.0015034 | 0.99961 | LIN | # | M2BT066 | 8.5 | HS 109 | Biotite | Scottish Carboniferous | jgi | 8.5 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 12 | 37 | 1 | EK42 | S Carboniferous | M2BT066 | 8.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT066 | 8.5 | 4 | 0.00065388 | 0.0018137 | 0 | 0.35075 | 5.3597 | 294.68 | ± 0.75 | 96.5181 | 7.9776 | 83.1565 | 10.582 | M2BT066 | 8.5 | 4 | 536.4093 | 24.3309 | 8492.2467 | 384.8071 |  |  | 0.99882 | M2BT066 | 8.5 | 4 | 0.063165 | 0.00013891 | 0.00011775 | 5.3358e-06 |  |  | 0.0032794 | M2BT066 | 8.5 | 4 | 0.00065388 | 4.9079e-07 | 0 | 0.0018137 | 0.00012221 | 0.005377 | 3.9357e-07 | 0 | 0.35075 | 1.2235e-06 | 5.3597 | 0.19322 | 0.00012978 | M2BT066 | 8.5 | 4 | 15.2808 | 0.020963 | 5.5529 | 0.0015872 | 5.749 | 1.0006 | 1.1106e-16 | 17.4902 | 294.4871 | 292.8272 | 62.1373 | 55.0397 | 1.4406 | 298.3678 | 0.0048279 | 0.003299
M2BT067 | 9 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT067 | 9 | 0.00094043 | 5.1433e-05 |  | AVE | # | 0.00037849 | 1.846e-05 | 0.99544 | LIN | # 1 9 | 0.0057101 | 1.3498e-05 | 0.97686 | LIN | # 2 6 9 | 0.42072 | 0.00014913 | 0.99957 | LIN | # 1 | 6.7083 | 0.0023612 | 0.99947 | LIN | # 1 | M2BT067 | 9 | HS 109 | Biotite | Scottish Carboniferous | jgi | 9 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 13 | 8 | 1 | EK42 | S Carboniferous | M2BT067 | 9 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT067 | 9 | 4 | 0.00094115 | 0.0021676 | 0 | 0.42224 | 6.427 | 293.63 | ± 1.44 | 95.8501 | 9.6036 | 83.7614 | 9.081 | M2BT067 | 9 | 4 | 448.6407 | 50.0058 | 7124.4268 | 793.9655 |  |  | 0.9998 | M2BT067 | 9 | 4 | 0.062972 | 0.00014115 | 0.00014036 | 1.5642e-05 |  |  | 0.0020794 | M2BT067 | 9 | 4 | 0.00094115 | 5.8656e-07 | 0 | 0.0021676 | 0.0001759 | 0.0064729 | 4.7037e-07 | 0 | 0.42224 | 1.4623e-06 | 6.427 | 0.27811 | 0.00015623 | M2BT067 | 9 | 4 | 15.2214 | 0.040504 | 6.7051 | 0.0024163 | 5.7515 | 1.0006 | 1.3411e-16 | 17.4902 | 293.9371 | 295.429 | 72.5746 | 93.7385 | 1.4389 | 298.2844 | 0.0048236 | 0.0032981
M2BT068 | 9.5 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT068 | 9.5 | 0.0013999 | 1.4102e-05 |  | AVE | # 2 10 | 0.00039239 | 1.356e-05 | 0.99763 | LIN | # 2 10 | 0.0058075 | 1.0565e-05 | 0.97797 | LIN | # 7 10 | 0.42141 | 0.00019962 | 0.99898 | LIN | # | 6.8868 | 0.0028525 | 0.99902 | LIN | # | M2BT068 | 9.5 | HS 109 | Biotite | Scottish Carboniferous | jgi | 9.5 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 13 | 37 | 1 | EK42 | S Carboniferous | M2BT068 | 9.5 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT068 | 9.5 | 4 | 0.0014061 | 0.0022492 | 0 | 0.42293 | 6.4682 | 294.92 | ± 0.76 | 93.9616 | 9.6193 | 80.8551 | 6.6837 | M2BT068 | 9.5 | 4 | 300.7701 | 6.951 | 4895.42 | 112.6917 |  |  | 0.99474 | M2BT068 | 9.5 | 4 | 0.061439 | 0.00014551 | 0.00020427 | 4.7023e-06 |  |  | 0.013006 | M2BT068 | 9.5 | 4 | 0.0014061 | 6.0863e-07 | 0 | 0.0022492 | 0.00026281 | 0.0064835 | 4.8807e-07 | 0 | 0.42293 | 1.5173e-06 | 6.4682 | 0.41552 | 0.00015648 | M2BT068 | 9.5 | 4 | 15.2938 | 0.021476 | 6.8837 | 0.0028983 | 5.7538 | 1.0006 | 1.3768e-16 | 25.4678 | 293.9371 | 295.429 | 72.5746 | 93.7385 | 1.438 | 298.3678 | 0.0048193 | 0.0032991
M2BT069 | 10 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT069 | 10 | 0.0011759 | 2.0505e-05 |  | AVE | # 4 5 9 | 0.00026663 | 7.8201e-06 | 0.9985 | LIN | # 4 5 | 0.003661 | 1.8348e-05 | 0.91722 | LIN | # 5 8 12 | 0.25851 | 0.0001032 | 0.99949 | LIN | # 1 | 4.3524 | 0.001611 | 0.99946 | LIN | # 1 | M2BT069 | 10 | HS 109 | Biotite | Scottish Carboniferous | jgi | 10 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 14 | 13 | 1 | EK42 | S Carboniferous | M2BT069 | 10 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT069 | 10 | 4 | 0.0011797 | 0.0015198 | 0 | 0.25944 | 4.0007 | 297.18 | ± 1.09 | 91.9831 | 5.9007 | 73.4024 | 5.8266 | M2BT069 | 10 | 4 | 219.9229 | 8.1743 | 3686.9164 | 136.8388 |  |  | 0.9981 | M2BT069 | 10 | 4 | 0.05965 | 0.00013663 | 0.00027123 | 1.0067e-05 |  |  | 0.0070893 | M2BT069 | 10 | 4 | 0.0011797 | 4.1126e-07 | 0 | 0.0015198 | 0.00022048 | 0.0039771 | 3.298e-07 | 0 | 0.25944 | 1.0253e-06 | 4.0007 | 0.34859 | 9.5991e-05 | M2BT069 | 10 | 4 | 15.4209 | 0.030657 | 4.3493 | 0.0016882 | 5.7566 | 1.0006 | 8.6988e-17 | 25.4678 | 295.0681 | 292.1838 | 92.8425 | 74.6804 | 1.438 | 298.6124 | 0.0048154 | 0.0033018
M2BT070 | 11 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT070 | 11 | 0.0027058 | 1.4853e-05 | 0.84479 | LIN | # 4 5 | 0.00060296 | 1.4274e-05 | 0.9977 | LIN | # 2 4 6 | 0.005181 | 8.9828e-06 | 0.98568 | LIN | # 4 5 8 | 0.35237 | 0.00012343 | 0.99951 | LIN | # 1 | 6.3089 | 0.0021849 | 0.99945 | LIN | # 1 | M2BT070 | 11 | HS 109 | Biotite | Scottish Carboniferous | jgi | 11 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 14 | 42 | 1 | EK42 | S Carboniferous | M2BT070 | 11 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT070 | 11 | 4 | 0.0027276 | 0.0034749 | 0 | 0.35364 | 5.4998 | 299.50 | ± 0.85 | 87.2161 | 8.0435 | 43.7617 | 2.7069 | M2BT070 | 11 | 4 | 129.6531 | 1.8563 | 2311.8323 | 32.7757 |  |  | 0.98773 | M2BT070 | 11 | 4 | 0.056082 | 0.00012541 | 0.00043256 | 6.1325e-06 |  |  | 0.01597 | M2BT070 | 11 | 4 | 0.0027276 | 9.403e-07 | 0 | 0.0034749 | 0.00050979 | 0.0054213 | 7.5405e-07 | 0 | 0.35364 | 2.3441e-06 | 5.4998 | 0.80601 | 0.00013085 | M2BT070 | 11 | 4 | 15.5518 | 0.023924 | 6.3058 | 0.0022434 | 5.7589 | 1.0006 | 1.2612e-16 | 35.0714 | 295.0681 | 292.1838 | 92.8425 | 74.6804 | 1.4388 | 299.0014 | 0.004812 | 0.0033061
M2BT071 | 12 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT071 | 12 | 0.002665 | 2.6808e-05 |  | AVE | # | 0.0019494 | 1.2991e-05 | 0.99749 | LIN | # 5 | 0.0057751 | 1.4858e-05 | 0.92832 | LIN | # | 0.39877 | 9.9086e-05 | 0.99973 | LIN | # 1 | 6.9753 | 0.0018882 | 0.99963 | LIN | # 1 | M2BT071 | 12 | HS 109 | Biotite | Scottish Carboniferous | jgi | 12 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 15 | 12 | 1 | EK42 | S Carboniferous | M2BT071 | 12 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT071 | 12 | 4 | 0.0026842 | 0.011304 | 0 | 0.40021 | 6.179 | 297.51 | ± 0.98 | 88.6216 | 9.1025 | 15.2238 | 0.58413 | M2BT071 | 12 | 4 | 149.0945 | 3.3089 | 2597.4454 | 57.4145 |  |  | 0.99536 | M2BT071 | 12 | 4 | 0.0574 | 0.00012264 | 0.00038499 | 8.51e-06 |  |  | 0.0066679 | M2BT071 | 12 | 4 | 0.0026842 | 3.0588e-06 | 0 | 0.011304 | 0.00050168 | 0.0061351 | 2.4529e-06 | 0 | 0.40021 | 7.6256e-06 | 6.179 | 0.79319 | 0.00014808 | M2BT071 | 12 | 4 | 15.4395 | 0.027508 | 6.9722 | 0.0019562 | 5.7613 | 1.0006 | 1.3945e-16 | 35.0714 | 294.151 | 295.6792 | 74.1714 | 87.5388 | 1.4405 | 299.5084 | 0.0048094 | 0.0033118
M2BT072 | 13 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT072 | 13 | 0.001329 | 1.1733e-05 | 0.76814 | LIN | # 9 | 0.0027701 | 2.3596e-05 | 0.99175 | LIN | # 1 9 | 0.0065499 | 1.3592e-05 | 0.96503 | LIN | # 9 | 0.4785 | 0.00016041 | 0.99958 | LIN | # 1 10 | 7.6276 | 0.002612 | 0.99943 | LIN | # 1 10 | M2BT072 | 13 | HS 109 | Biotite | Scottish Carboniferous | jgi | 13 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 15 | 40 | 1 | EK42 | S Carboniferous | M2BT072 | 13 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT072 | 13 |  | 0.0013306 | 0.016082 | 0 | 0.48021 | 7.2313 | 290.72 | ± 0.67 | 94.8407 | 10.9223 | 12.8403 | 0.50915 | M2BT072 | 13 |  | 360.8929 | 7.6262 | 5729.9755 | 120.5437 |  |  | 0.99445 | M2BT072 | 13 |  | 0.062983 | 0.00013998 | 0.00017452 | 3.6715e-06 |  |  | 0.010433 | M2BT072 | 13 |  | 0.0013306 | 4.3517e-06 | 0 | 0.016082 | 0.00024869 | 0.0073617 | 3.4897e-06 | 0 | 0.48021 | 1.0849e-05 | 7.2313 | 0.3932 | 0.00017768 | M2BT072 | 13 |  | 15.0584 | 0.0189 | 7.6245 | 0.0026626 | 5.7635 | 1.0006 | 1.5249e-16 | 44.6907 | 294.151 | 295.6792 | 74.1714 | 87.5388 | 1.4428 | 300.0989 | 0.0048078 | 0.0033183
M2BT073 | 14 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT073 | 14 | 0.00068085 | 2.1178e-05 |  | AVE | # 1 2 | 0.0041821 | 1.4465e-05 | 0.99507 | LIN | # 11 | 0.0068442 | 1.3182e-05 | 0.97505 | LIN | # 4 10 | 0.51254 | 0.00017515 | 0.99945 | LIN | # | 7.8298 | 0.0021106 | 0.99954 | LIN | # | M2BT073 | 14 | HS 109 | Biotite | Scottish Carboniferous | jgi | 14 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 16 | 9 | 1 | EK42 | S Carboniferous | M2BT073 | 14 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT073 | 14 |  | 0.00067242 | 0.024303 | 0 | 0.51437 | 7.628 | 286.64 | ± 0.74 | 97.4589 | 11.6992 | 9.101 | 0.33093 | M2BT073 | 14 |  | 764.9574 | 50.5251 | 11639.5055 | 768.4179 |  |  | 0.99945 | M2BT073 | 14 |  | 0.065721 | 0.00014365 | 8.5914e-05 | 5.6719e-06 |  |  | 0.0021377 | M2BT073 | 14 |  | 0.00067242 | 6.5764e-06 | 0 | 0.024303 | 0.00012568 | 0.0078854 | 5.2737e-06 | 0 | 0.51437 | 1.6395e-05 | 7.628 | 0.1987 | 0.00019032 | M2BT073 | 14 |  | 14.8296 | 0.020643 | 7.8267 | 0.0021734 | 5.7658 | 1.0006 | 1.5654e-16 | 44.6907 | 298.2646 | 296.0858 | 79.229 | 67.5759 | 1.4457 | 300.7324 | 0.0048072 | 0.0033253
M2BT074 | 27 | 1e-05 | 5e-06 | 5e-06 | 5e-06 | 2e-06 | 5e-06 | 1e-05 | 1e-05 | 0.003 | 0.0005 | M2BT074 | 27 | 0.00028645 | 1.216e-05 | 0.90367 | LIN | # 4 7 | 0.0083678 | 1.0867e-05 | 0.98532 | LIN | # 5 | 0.005587 | 1.2901e-05 | 0.97081 | LIN | # 2 5 10 11 | 0.42239 | 5.7197e-05 | 0.99993 | LIN | # 1 | 6.3763 | 0.00055343 | 0.99996 | LIN | # 1 | M2BT074 | 27 | HS 109 | Biotite | Scottish Carboniferous | jgi | 27 | 98.79 | 0.01 | 0.011612 | 0.2 | 0.997 | 0.1 | 1 | 2e-17 | 27 | 4 | 2001 | 16 | 29 | 1 | EK42 | S Carboniferous | M2BT074 | 27 | 295.5 | 0 | 0.1869 | 0 | 0.0006746 | 3.41 | 0.000217 | 10.6 | 0.0002706 | 1.29 | 0.00037 | 72.97 | 0.01533 | 0.39 | 0 | 0 | 0.43 | 0 | 0 | 0 | 0 | 0 | M2BT074 | 27 |  | 0.00026663 | 0.048669 | 0 | 0.42388 | 6.2943 | 286.99 | ± 0.63 | 98.7613 | 9.641 | 3.7451 | 0.13381 | M2BT074 | 27 |  | 1589.7537 | 159.3308 | 23902.1009 | 2395.075 |  |  | 0.99979 | M2BT074 | 27 |  | 0.066511 | 0.00013521 | 4.1837e-05 | 4.1922e-06 |  |  | 0.00027528 | M2BT074 | 27 |  | 0.00026663 | 1.317e-05 | 0 | 0.048669 | 4.9834e-05 | 0.0064981 | 1.0561e-05 | 0 | 0.42388 | 3.2832e-05 | 6.2943 | 0.07879 | 0.00015684 | M2BT074 | 27 |  | 14.8492 | 0.017737 | 6.3731 | 0.00075458 | 5.7674 | 1.0006 | 1.2747e-16 | 50.5915 | 298.2646 | 296.0858 | 79.229 | 67.5759 | 1.4489 | 301.366 | 0.0048078 | 0.0033323
[146 empty] | 50.5915 | 298.6489 | 300.347 | 41.0548 | 46.4685 | 1.4522 | 301.9564 | 0.0048095 | 0.0033388
[146 empty] | 58.6349 | 298.6489 | 300.347 | 41.0548 | 46.4685 | 1.4555 | 302.4634 | 0.0048122 | 0.0033444
[88 empty] | S | 0.048435 | 0.14098 | 0.00018266 | 4.3966 | 66.1768 | [28 empty] | S | 0.048435 | 3.8149e-05 | 0 | 0.14098 | 0.0090525 | 0.067401 | 3.0593e-05 | 0.00018266 | 4.3966 | 9.5105e-05 | 66.1768 | 14.3126 | 0.0016268 | [10 empty] | 58.6349 | 298.4824 | 296.5278 | 15.808 | 14.6397 | 1.4584 | 302.8525 | 0.0048156 | 0.0033487
[146 empty] | 67.7375 | 298.4824 | 296.5278 | 15.808 | 14.6397 | 1.4608 | 303.097 | 0.0048196 | 0.0033514
[146 empty] | 67.7375 | 290.0487 | 291.3967 | 12.3311 | 13.3494 | 1.4624 | 303.1804 | 0.0048239 | 0.0033523
[122 empty] | S |  |  | 0.048473 | 0.14098 |  |  |  | 0.076666 |  | 4.3967 |  |  | 80.4909 | [10 empty] | 78.6597 | 290.0487 | 291.3967 | 12.3311 | 13.3494
[86 empty] | Information on Analysis |  |  |  | Results |  | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | 39Ar(k) | K/Ca | ± 2s | Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | Results |  |  | 40(a)/36(a) | ± 2s | 40(r)/39(k) | ± 2s | Age | ± 2s | MSWD | [26 empty] | 78.6597 | 287.3757 | 285.9 | 9.4319 | 8.7701 | 11.6114 | 487.8338 | 0.023811 | 0.002678
[94 empty] | (Ma) |  |  | (%,n) | [9 empty] | (Ma) | [9 empty] | (Ma) | [28 empty] | 90.359 | 287.3757 | 285.9 | 9.4319 | 8.7701 | 11.5841 | 485.7539 | 0.023863 | 0.0026656
[146 empty] | 90.359 | 286.3547 | 287.6225 | 3.6112 | 3.8789 | 11.4598 | 479.6569 | 0.023911 | 0.0026313
[86 empty] | Sample | HS 109 |  |  | Error Plateau |  | 15.3302 | 0.085803 | 295.56 | ± 1.88 | 22.8314 | 65.7044 | 18.3845 | 7.9165 | Error Chron |  |  | 341.1683 | 28.6645 | 15.1305 | 0.13595 | 292.01 | ± 2.65 | 10.1093 | Error Chron |  |  | 341.5066 | 26.8146 | 15.1381 | 0.1262 | 292.14 | ± 2.49 | 8.9499 | [26 empty] | 100 | 286.3547 | 287.6225 | 3.6112 | 3.8789 | 11.247 | 469.9583 | 0.023951 | 0.0025773
[86 empty] | Material | Biotite | [5 empty] | 0.5597% |  | 0.6345% |  | 9 | [6 empty] | 8.402% |  | 0.8985% |  | 0.9081% | [5 empty] | 7.852% |  | 0.8337% |  | 0.8537% | [32 empty] | 10.96 | 457.3192 | 0.023982 | 0.0025074
[86 empty] | Location | Scottish Carboniferous |  |  | External Error |  |  |  |  | ± 5.50 |  |  |  |  | External Error | [7 empty] | ± 5.76 |  | External Error | [7 empty] | ± 5.69 | [32 empty] | 10.6186 | 442.6008 | 0.024001 | 0.0024262
[86 empty] | Analyst | msp |  |  | Analytical Error |  |  |  |  | ± 1.53 |  |  |  |  | Analytical Error | [7 empty] | ± 2.42 |  | Analytical Error | [7 empty] | ± 2.25 | [32 empty] | 10.246 | 426.8061 | 0.024006 | 0.0023394
[151 empty] | 9.8675 | 411.0115 | 0.023998 | 0.0022528
[151 empty] | 9.5089 | 396.2935 | 0.023976 | 0.0021724
[86 empty] | Project | S Carboniferous |  |  | Total Fusion Age |  | 15.0516 | 0.023498 | 290.60 | ± 1.15 |  | 15 | 13.4101 | 0.21482 | [51 empty] | 9.1948 | 383.655 | 0.023943 | 0.0021036
[86 empty] | Irradiation | EK42 | [5 empty] | 0.1561% |  | 0.3966% |  |  |  |  | Statistics |  |  | F ratio | 2.0096 |  | Convergence | 1.5099e-06 |  |  | Statistics |  |  | F ratio | 2.0096 |  | Convergence | 1.1336e-07 | [33 empty] | 8.9464 | 373.9573 | 0.023901 | 0.0020511
[86 empty] | J-value | 0.011612 |  |  | External Error |  |  |  |  | ± 5.21 | [7 empty] | Error Magnification | 3.1795 |  | Number of Iterations | 970 | [5 empty] | Error Magnification | 2.9916 |  | Number of Iterations | 3 | [33 empty] | 8.7808 | 367.8613 | 0.023851 | 0.0020185
[86 empty] | Standard | 98.79 |  |  | Analytical Error |  |  |  |  | ± 0.42 | [7 empty] | n | 9 |  | Calculated Line | Weighted York-2 | [5 empty] | n | 9 |  | Calculated Line | Weighted York-2 | [33 empty] | 8.7091 | 365.7824 | 0.023799 | 0.002008
[151 empty] | 8.7364 | 367.8623 | 0.023747 | 0.0020203
[151 empty] | 8.8607 | 373.9593 | 0.0237 | 0.0020547
[151 empty] | 9.0735 | 383.6578 | 0.023659 | 0.0021086
[151 empty] | 9.3605 | 396.297 | 0.023628 | 0.0021786
[151 empty] | 9.7019 | 411.0154 | 0.02361 | 0.0022597
[151 empty] | 10.0745 | 426.8101 | 0.023604 | 0.0023465
[151 empty] | 10.453 | 442.6047 | 0.023613 | 0.0024331
[151 empty] | 10.8116 | 457.3227 | 0.023634 | 0.0025136
[151 empty] | 11.1257 | 469.9612 | 0.023667 | 0.0025824
[151 empty] | 11.3741 | 479.6589 | 0.02371 | 0.0026349
[151 empty] | 11.5397 | 485.7549 | 0.023759 | 0.0026675
[151 empty] | 11.6114 | 487.8338 | 0.023811 | 0.002678
[151 empty] | 24.9894 | 638.0376 | 0.039273 | 0.0015993
[151 empty] | 24.9898 | 637.6154 | 0.039269 | 0.001591
[151 empty] | 24.9573 | 636.3789 | 0.039259 | 0.0015833
[151 empty] | 24.894 | 634.4123 | 0.039243 | 0.0015766
[151 empty] | 24.8043 | 631.8498 | 0.039221 | 0.0015714
[151 empty] | 24.6944 | 628.8658 | 0.039196 | 0.001568
[151 empty] | 24.5716 | 625.6638 | 0.039169 | 0.0015667
[151 empty] | 24.4445 | 622.462 | 0.039142 | 0.0015675
[151 empty] | 24.3215 | 619.4786 | 0.039117 | 0.0015705
[151 empty] | 24.2112 | 616.9168 | 0.039095 | 0.0015753
[151 empty] | 24.121 | 614.9513 | 0.039079 | 0.0015817
[151 empty] | 24.0571 | 613.7161 | 0.039068 | 0.0015892
[151 empty] | 24.0239 | 613.2952 | 0.039065 | 0.0015973
[151 empty] | 24.0235 | 613.7174 | 0.039068 | 0.0016055
[151 empty] | 24.056 | 614.9539 | 0.039079 | 0.0016133
[151 empty] | 24.1193 | 616.9204 | 0.039095 | 0.00162
[151 empty] | 24.209 | 619.483 | 0.039117 | 0.0016252
[151 empty] | 24.3189 | 622.4669 | 0.039142 | 0.0016286
[151 empty] | 24.4417 | 625.6689 | 0.039169 | 0.0016299
[151 empty] | 24.5688 | 628.8707 | 0.039196 | 0.0016291
[151 empty] | 24.6918 | 631.8542 | 0.039221 | 0.0016261
[151 empty] | 24.8021 | 634.4159 | 0.039242 | 0.0016213
[151 empty] | 24.8923 | 636.3814 | 0.039259 | 0.0016149
[151 empty] | 24.9562 | 637.6167 | 0.039269 | 0.0016074
[151 empty] | 24.9894 | 638.0376 | 0.039273 | 0.0015993
[151 empty] | 130.0595 | 2306.3499 | 0.05652 | 0.00045128
[151 empty] | 129.9599 | 2303.2843 | 0.056516 | 0.00044655
[151 empty] | 129.5219 | 2294.3047 | 0.056503 | 0.00044212
[151 empty] | 128.7754 | 2280.023 | 0.056483 | 0.00043832
[151 empty] | 127.7712 | 2261.4125 | 0.056457 | 0.00043538
[151 empty] | 126.5778 | 2239.7415 | 0.056426 | 0.00043353
[151 empty] | 125.2765 | 2216.4867 | 0.056393 | 0.00043287
[151 empty] | 123.956 | 2193.2331 | 0.05636 | 0.00043347
[151 empty] | 122.7063 | 2171.5652 | 0.056329 | 0.00043526
[151 empty] | 121.6125 | 2152.9598 | 0.056302 | 0.00043814
[151 empty] | 120.7492 | 2138.6846 | 0.056282 | 0.00044191
[151 empty] | 120.1752 | 2129.7127 | 0.056269 | 0.00044631
[151 empty] | 119.9297 | 2126.6553 | 0.056265 | 0.00045104
[151 empty] | 120.0293 | 2129.7209 | 0.056269 | 0.00045578
[151 empty] | 120.4673 | 2138.7005 | 0.056282 | 0.0004602
[151 empty] | 121.2138 | 2152.9822 | 0.056302 | 0.00046401
[151 empty] | 122.2179 | 2171.5927 | 0.056329 | 0.00046694
[151 empty] | 123.4114 | 2193.2637 | 0.05636 | 0.00046879
[151 empty] | 124.7126 | 2216.5185 | 0.056393 | 0.00046945
[151 empty] | 126.0332 | 2239.7721 | 0.056426 | 0.00046886
[151 empty] | 127.2829 | 2261.44 | 0.056457 | 0.00046706
[151 empty] | 128.3767 | 2280.0454 | 0.056483 | 0.00046418
[151 empty] | 129.24 | 2294.3205 | 0.056503 | 0.00046041
[151 empty] | 129.814 | 2303.2925 | 0.056516 | 0.00045601
[151 empty] | 130.0595 | 2306.3499 | 0.05652 | 0.00045128
[151 empty] | 213.5393 | 3540.0098 | 0.060452 | 0.00029319
[151 empty] | 213.3893 | 3535.6168 | 0.060448 | 0.00029033
[151 empty] | 212.7205 | 3522.7507 | 0.060435 | 0.00028766
[151 empty] | 211.5784 | 3502.2885 | 0.060414 | 0.00028536
[151 empty] | 210.041 | 3475.6245 | 0.060387 | 0.00028359
[151 empty] | 208.2129 | 3444.576 | 0.060356 | 0.00028247
[151 empty] | 206.2187 | 3411.2588 | 0.060322 | 0.00028208
[151 empty] | 204.1944 | 3377.9434 | 0.060288 | 0.00028245
[151 empty] | 202.2778 | 3346.9002 | 0.060257 | 0.00028354
[151 empty] | 200.5997 | 3320.2447 | 0.06023 | 0.00028529
[151 empty] | 199.2744 | 3299.7935 | 0.060209 | 0.00028757
[151 empty] | 198.3921 | 3286.9403 | 0.060196 | 0.00029024
[151 empty] | 198.013 | 3282.561 | 0.060192 | 0.0002931
[151 empty] | 198.163 | 3286.9541 | 0.060196 | 0.00029596
[151 empty] | 198.8318 | 3299.8201 | 0.060209 | 0.00029863
[151 empty] | 199.9739 | 3320.2824 | 0.06023 | 0.00030093
[151 empty] | 201.5114 | 3346.9462 | 0.060257 | 0.0003027
[151 empty] | 203.3395 | 3377.9948 | 0.060288 | 0.00030382
[151 empty] | 205.3336 | 3411.3121 | 0.060322 | 0.00030421
[151 empty] | 207.358 | 3444.6275 | 0.060356 | 0.00030384
[151 empty] | 209.2745 | 3475.6707 | 0.060387 | 0.00030275
[151 empty] | 210.9526 | 3502.3261 | 0.060414 | 0.000301
[151 empty] | 212.278 | 3522.7773 | 0.060435 | 0.00029872
[151 empty] | 213.1602 | 3535.6305 | 0.060448 | 0.00029605
[151 empty] | 213.5393 | 3540.0098 | 0.060452 | 0.00029319
[151 empty] | 421.6722 | 6728.476 | 0.0628 | 0.00015557
[151 empty] | 421.2466 | 6718.2318 | 0.062795 | 0.00015369
[151 empty] | 419.5677 | 6688.2243 | 0.062782 | 0.00015194
[151 empty] | 416.7499 | 6640.4986 | 0.062762 | 0.00015043
[151 empty] | 412.9854 | 6578.3071 | 0.062735 | 0.00014927
[151 empty] | 408.5305 | 6505.8878 | 0.062704 | 0.00014855
[151 empty] | 403.6889 | 6428.1763 | 0.06267 | 0.0001483
[151 empty] | 398.7906 | 6350.4683 | 0.062636 | 0.00014854
[151 empty] | 394.1694 | 6278.0596 | 0.062605 | 0.00014927
[151 empty] | 390.1401 | 6215.8845 | 0.062578 | 0.00015042
[151 empty] | 386.9775 | 6168.1804 | 0.062557 | 0.00015193
[151 empty] | 384.8969 | 6138.1981 | 0.062544 | 0.00015368
[151 empty] | 384.0402 | 6127.9809 | 0.06254 | 0.00015556
[151 empty] | 384.4658 | 6138.2251 | 0.062544 | 0.00015744
[151 empty] | 386.1447 | 6168.2325 | 0.062557 | 0.00015919
[151 empty] | 388.9625 | 6215.9582 | 0.062578 | 0.0001607
[151 empty] | 392.727 | 6278.1497 | 0.062605 | 0.00016185
[151 empty] | 397.1819 | 6350.569 | 0.062636 | 0.00016258
[151 empty] | 402.0235 | 6428.2805 | 0.06267 | 0.00016283
[151 empty] | 406.9218 | 6505.9885 | 0.062704 | 0.00016258
[151 empty] | 411.543 | 6578.3972 | 0.062735 | 0.00016186
[151 empty] | 415.5723 | 6640.5723 | 0.062762 | 0.00016071
[151 empty] | 418.735 | 6688.2764 | 0.062782 | 0.0001592
[151 empty] | 420.8155 | 6718.2587 | 0.062795 | 0.00015745
[151 empty] | 421.6722 | 6728.476 | 0.0628 | 0.00015557
[151 empty] | 560.7119 | 8877.0538 | 0.063304 | 0.00011777
[151 empty] | 560.1879 | 8863.9226 | 0.063299 | 0.00011639
[151 empty] | 558.0434 | 8825.4623 | 0.063285 | 0.0001151
[151 empty] | 554.4246 | 8764.294 | 0.063263 | 0.00011399
[151 empty] | 549.5781 | 8684.5861 | 0.063234 | 0.00011314
[151 empty] | 543.8342 | 8591.7705 | 0.063201 | 0.00011261
[151 empty] | 537.5843 | 8492.1726 | 0.063165 | 0.00011242
[151 empty] | 531.2543 | 8392.5797 | 0.063129 | 0.0001126
[151 empty] | 525.2756 | 8299.779 | 0.063095 | 0.00011312
[151 empty] | 520.0556 | 8220.0946 | 0.063066 | 0.00011397
[151 empty] | 515.9502 | 8158.9569 | 0.063044 | 0.00011507
[151 empty] | 513.239 | 8120.5324 | 0.06303 | 0.00011636
[151 empty] | 512.1068 | 8107.4396 | 0.063026 | 0.00011774
[151 empty] | 512.6308 | 8120.5708 | 0.06303 | 0.00011912
[151 empty] | 514.7752 | 8159.031 | 0.063044 | 0.00012041
[151 empty] | 518.394 | 8220.1993 | 0.063066 | 0.00012152
[151 empty] | 523.2405 | 8299.9071 | 0.063095 | 0.00012237
[151 empty] | 528.9845 | 8392.7228 | 0.063129 | 0.0001229
[151 empty] | 535.2344 | 8492.3207 | 0.063165 | 0.00012309
[151 empty] | 541.5644 | 8591.9136 | 0.063201 | 0.00012291
[151 empty] | 547.5431 | 8684.7143 | 0.063234 | 0.00012238
[151 empty] | 552.763 | 8764.3987 | 0.063263 | 0.00012154
[151 empty] | 556.8685 | 8825.5364 | 0.063285 | 0.00012044
[151 empty] | 559.5797 | 8863.9609 | 0.063299 | 0.00011915
[151 empty] | 560.7119 | 8877.0538 | 0.063304 | 0.00011777
[151 empty] | 498.6365 | 7918.3923 | 0.063113 | 0.0001404
[151 empty] | 497.1922 | 7891.3222 | 0.063109 | 0.00013635
[151 empty] | 492.4391 | 7811.9896 | 0.063094 | 0.00013257
[151 empty] | 484.7013 | 7685.8006 | 0.063072 | 0.00012932
[151 empty] | 474.5061 | 7521.3551 | 0.063043 | 0.00012683
[151 empty] | 462.5481 | 7329.8594 | 0.063009 | 0.00012526
[151 empty] | 449.6424 | 7124.3639 | 0.062972 | 0.00012472
[151 empty] | 436.6684 | 6918.8727 | 0.062936 | 0.00012524
[151 empty] | 424.5104 | 6727.3897 | 0.062902 | 0.0001268
[151 empty] | 413.9967 | 6562.964 | 0.062872 | 0.00012928
[151 empty] | 405.844 | 6436.8011 | 0.06285 | 0.00013251
[151 empty] | 400.6078 | 6357.4988 | 0.062836 | 0.00013628
[151 empty] | 398.645 | 6330.4614 | 0.062831 | 0.00014033
[151 empty] | 400.0893 | 6357.5313 | 0.062836 | 0.00014438
[151 empty] | 404.8423 | 6436.8639 | 0.06285 | 0.00014815
[151 empty] | 412.5801 | 6563.0527 | 0.062872 | 0.0001514
[151 empty] | 422.7754 | 6727.4981 | 0.062902 | 0.00015389
[151 empty] | 434.7333 | 6918.994 | 0.062936 | 0.00015546
[151 empty] | 447.639 | 7124.4895 | 0.062972 | 0.000156
[151 empty] | 460.613 | 7329.9807 | 0.063009 | 0.00015548
[151 empty] | 472.7711 | 7521.4638 | 0.063043 | 0.00015393
[151 empty] | 483.2847 | 7685.8894 | 0.063072 | 0.00015145
[151 empty] | 491.4375 | 7812.0523 | 0.063094 | 0.00014821
[151 empty] | 496.6736 | 7891.3547 | 0.063109 | 0.00014444
[151 empty] | 498.6365 | 7918.3923 | 0.063113 | 0.0001404
[151 empty] | 307.6848 | 5008.1116 | 0.061585 | 0.00020433
[151 empty] | 307.6328 | 5004.2605 | 0.06158 | 0.00020311
[151 empty] | 307.1132 | 4992.992 | 0.061565 | 0.00020197
[151 empty] | 306.1613 | 4975.0742 | 0.061542 | 0.00020099
[151 empty] | 304.842 | 4951.7281 | 0.061512 | 0.00020023
[151 empty] | 303.2452 | 4924.5447 | 0.061477 | 0.00019975
[151 empty] | 301.4797 | 4895.3765 | 0.061439 | 0.00019957
[151 empty] | 299.6658 | 4866.2112 | 0.061401 | 0.00019972
[151 empty] | 297.9273 | 4839.0365 | 0.061366 | 0.00020017
[151 empty] | 296.3824 | 4815.7042 | 0.061336 | 0.0002009
[151 empty] | 295.1366 | 4797.8044 | 0.061313 | 0.00020187
[151 empty] | 294.2747 | 4786.5569 | 0.061299 | 0.000203
[151 empty] | 293.8554 | 4782.7283 | 0.061294 | 0.00020421
[151 empty] | 293.9073 | 4786.5794 | 0.061299 | 0.00020543
[151 empty] | 294.427 | 4797.8479 | 0.061313 | 0.00020657
[151 empty] | 295.3789 | 4815.7657 | 0.061336 | 0.00020755
[151 empty] | 296.6982 | 4839.1118 | 0.061366 | 0.00020831
[151 empty] | 298.295 | 4866.2952 | 0.061401 | 0.0002088
[151 empty] | 300.0605 | 4895.4635 | 0.061439 | 0.00020897
[151 empty] | 301.8743 | 4924.6287 | 0.061477 | 0.00020883
[151 empty] | 303.6129 | 4951.8035 | 0.061512 | 0.00020838
[151 empty] | 305.1577 | 4975.1357 | 0.061542 | 0.00020764
[151 empty] | 306.4036 | 4993.0355 | 0.061565 | 0.00020668
[151 empty] | 307.2655 | 5004.283 | 0.06158 | 0.00020555
[151 empty] | 307.6848 | 5008.1116 | 0.061585 | 0.00020433
[151 empty] | 228.0818 | 3823.7551 | 0.059786 | 0.0002713
[151 empty] | 227.9337 | 3819.0847 | 0.059782 | 0.00026869
[151 empty] | 227.2397 | 3805.4073 | 0.059768 | 0.00026626
[151 empty] | 226.047 | 3783.6548 | 0.059746 | 0.00026416
[151 empty] | 224.437 | 3755.3099 | 0.059718 | 0.00026255
[151 empty] | 222.5194 | 3722.3039 | 0.059685 | 0.00026152
[151 empty] | 220.4248 | 3686.8865 | 0.05965 | 0.00026116
[151 empty] | 218.296 | 3651.471 | 0.059614 | 0.00026149
[151 empty] | 216.2781 | 3618.4711 | 0.059581 | 0.00026248
[151 empty] | 214.5086 | 3590.1356 | 0.059553 | 0.00026406
[151 empty] | 213.108 | 3568.3955 | 0.059531 | 0.00026613
[151 empty] | 212.1719 | 3554.7325 | 0.059518 | 0.00026855
[151 empty] | 211.764 | 3550.0776 | 0.059513 | 0.00027116
[151 empty] | 211.9121 | 3554.748 | 0.059518 | 0.00027377
[151 empty] | 212.6061 | 3568.4254 | 0.059531 | 0.0002762
[151 empty] | 213.7987 | 3590.1778 | 0.059553 | 0.0002783
[151 empty] | 215.4087 | 3618.5228 | 0.059581 | 0.00027991
[151 empty] | 217.3264 | 3651.5287 | 0.059614 | 0.00028093
[151 empty] | 219.4209 | 3686.9462 | 0.05965 | 0.0002813
[151 empty] | 221.5497 | 3722.3617 | 0.059685 | 0.00028097
[151 empty] | 223.5676 | 3755.3616 | 0.059718 | 0.00027998
[151 empty] | 225.3372 | 3783.6971 | 0.059746 | 0.0002784
[151 empty] | 226.7377 | 3805.4371 | 0.059768 | 0.00027632
[151 empty] | 227.6739 | 3819.1002 | 0.059782 | 0.0002739
[151 empty] | 228.0818 | 3823.7551 | 0.059786 | 0.0002713
[151 empty] | 131.4867 | 2344.608 | 0.056208 | 0.00043266
[151 empty] | 131.499 | 2343.487 | 0.056204 | 0.00043107
[151 empty] | 131.3856 | 2340.2088 | 0.056191 | 0.00042958
[151 empty] | 131.154 | 2334.9968 | 0.056171 | 0.00042829
[151 empty] | 130.8202 | 2328.2061 | 0.056145 | 0.0004273
[151 empty] | 130.4068 | 2320.2996 | 0.056115 | 0.00042666
[151 empty] | 129.9421 | 2311.8161 | 0.056082 | 0.00042643
[151 empty] | 129.4576 | 2303.3337 | 0.05605 | 0.00042661
[151 empty] | 128.9865 | 2295.4304 | 0.05602 | 0.0004272
[151 empty] | 128.5608 | 2288.6449 | 0.055994 | 0.00042815
[151 empty] | 128.2096 | 2283.4396 | 0.055974 | 0.00042941
[151 empty] | 127.9567 | 2280.1692 | 0.055961 | 0.00043088
[151 empty] | 127.8194 | 2279.0566 | 0.055957 | 0.00043246
[151 empty] | 127.8071 | 2280.1775 | 0.055961 | 0.00043405
[151 empty] | 127.9206 | 2283.4557 | 0.055974 | 0.00043554
[151 empty] | 128.1521 | 2288.6678 | 0.055994 | 0.00043682
[151 empty] | 128.486 | 2295.4584 | 0.05602 | 0.00043782
[151 empty] | 128.8993 | 2303.3649 | 0.05605 | 0.00043845
[151 empty] | 129.3641 | 2311.8484 | 0.056082 | 0.00043869
[151 empty] | 129.8485 | 2320.3309 | 0.056115 | 0.00043851
[151 empty] | 130.3196 | 2328.2341 | 0.056145 | 0.00043792
[151 empty] | 130.7453 | 2335.0196 | 0.056171 | 0.00043696
[151 empty] | 131.0966 | 2340.2249 | 0.056191 | 0.00043571
[151 empty] | 131.3494 | 2343.4954 | 0.056204 | 0.00043424
[151 empty] | 131.4867 | 2344.608 | 0.056208 | 0.00043266
[151 empty] | 152.3881 | 2654.8599 | 0.057523 | 0.00038505
[151 empty] | 152.3581 | 2652.8988 | 0.057519 | 0.00038285
[151 empty] | 152.1056 | 2647.1587 | 0.057507 | 0.00038079
[151 empty] | 151.648 | 2638.0307 | 0.057487 | 0.00037902
[151 empty] | 151.0163 | 2626.1369 | 0.057462 | 0.00037765
[151 empty] | 150.2537 | 2612.2878 | 0.057432 | 0.00037679
[151 empty] | 149.412 | 2597.4272 | 0.0574 | 0.00037648
[151 empty] | 148.5488 | 2582.5679 | 0.057369 | 0.00037676
[151 empty] | 147.7227 | 2568.7225 | 0.057339 | 0.0003776
[151 empty] | 146.9901 | 2556.8344 | 0.057314 | 0.00037894
[151 empty] | 146.401 | 2547.714 | 0.057294 | 0.00038069
[151 empty] | 145.9954 | 2541.9826 | 0.057282 | 0.00038274
[151 empty] | 145.801 | 2540.031 | 0.057278 | 0.00038494
[151 empty] | 145.831 | 2541.992 | 0.057282 | 0.00038714
[151 empty] | 146.0835 | 2547.7322 | 0.057294 | 0.0003892
[151 empty] | 146.5411 | 2556.8601 | 0.057314 | 0.00039097
[151 empty] | 147.1728 | 2568.7539 | 0.057339 | 0.00039233
[151 empty] | 147.9354 | 2582.6031 | 0.057369 | 0.0003932
[151 empty] | 148.7771 | 2597.4636 | 0.0574 | 0.0003935
[151 empty] | 149.6403 | 2612.323 | 0.057432 | 0.00039323
[151 empty] | 150.4664 | 2626.1684 | 0.057462 | 0.00039239
[151 empty] | 151.199 | 2638.0564 | 0.057487 | 0.00039105
[151 empty] | 151.7881 | 2647.1769 | 0.057507 | 0.0003893
[151 empty] | 152.1937 | 2652.9082 | 0.057519 | 0.00038725
[151 empty] | 152.3881 | 2654.8599 | 0.057523 | 0.00038505
[151 empty] | 368.4771 | 5850.5191 | 0.063123 | 0.00017456
[151 empty] | 368.4255 | 5846.3987 | 0.063119 | 0.00017361
[151 empty] | 367.8605 | 5834.3442 | 0.063105 | 0.00017272
[151 empty] | 366.8207 | 5815.1772 | 0.063082 | 0.00017195
[151 empty] | 365.3769 | 5790.2038 | 0.063053 | 0.00017136
[151 empty] | 363.6275 | 5761.1259 | 0.06302 | 0.00017098
[151 empty] | 361.6918 | 5729.9252 | 0.062983 | 0.00017085
[151 empty] | 359.7016 | 5698.728 | 0.062947 | 0.00017096
[151 empty] | 357.7927 | 5669.6602 | 0.062913 | 0.00017132
[151 empty] | 356.095 | 5644.7027 | 0.062884 | 0.0001719
[151 empty] | 354.7242 | 5625.5565 | 0.062862 | 0.00017265
[151 empty] | 353.7739 | 5613.5263 | 0.062848 | 0.00017353
[151 empty] | 353.3087 | 5609.4318 | 0.062843 | 0.00017448
[151 empty] | 353.3604 | 5613.5522 | 0.062848 | 0.00017543
[151 empty] | 353.9254 | 5625.6067 | 0.062862 | 0.00017632
[151 empty] | 354.9652 | 5644.7737 | 0.062884 | 0.00017709
[151 empty] | 356.409 | 5669.7471 | 0.062913 | 0.00017768
[151 empty] | 358.1583 | 5698.825 | 0.062947 | 0.00017806
[151 empty] | 360.094 | 5730.0257 | 0.062983 | 0.00017819
[151 empty] | 362.0842 | 5761.223 | 0.06302 | 0.00017808
[151 empty] | 363.9932 | 5790.2908 | 0.063053 | 0.00017772
[151 empty] | 365.6909 | 5815.2482 | 0.063082 | 0.00017714
[151 empty] | 367.0616 | 5834.3944 | 0.063105 | 0.00017639
[151 empty] | 368.0119 | 5846.4247 | 0.063119 | 0.00017551
[151 empty] | 368.4771 | 5850.5191 | 0.063123 | 0.00017456
[151 empty] | 815.4551 | 12407.9234 | 0.065864 | 8.5926e-05
[151 empty] | 814.1653 | 12381.7119 | 0.06586 | 8.4458e-05
[151 empty] | 809.5221 | 12304.9202 | 0.065845 | 8.3089e-05
[151 empty] | 801.8419 | 12182.7817 | 0.065822 | 8.1912e-05
[151 empty] | 791.648 | 12023.6198 | 0.065793 | 8.1008e-05
[151 empty] | 779.6353 | 11838.2811 | 0.065758 | 8.0439e-05
[151 empty] | 766.6222 | 11639.3962 | 0.065721 | 8.0242e-05
[151 empty] | 753.4958 | 11440.5188 | 0.065684 | 8.0433e-05
[151 empty] | 741.1504 | 11255.2021 | 0.065649 | 8.0996e-05
[151 empty] | 730.4274 | 11096.0748 | 0.065619 | 8.1895e-05
[151 empty] | 722.0575 | 10973.9815 | 0.065596 | 8.3068e-05
[151 empty] | 716.6113 | 10897.2426 | 0.065582 | 8.4435e-05
[151 empty] | 714.4597 | 10871.0876 | 0.065577 | 8.5902e-05
[151 empty] | 715.7495 | 10897.299 | 0.065582 | 8.7371e-05
[151 empty] | 720.3927 | 10974.0906 | 0.065596 | 8.874e-05
[151 empty] | 728.0729 | 11096.2291 | 0.065619 | 8.9916e-05
[151 empty] | 738.2667 | 11255.3907 | 0.065649 | 9.082e-05
[151 empty] | 750.2795 | 11440.7297 | 0.065684 | 9.139e-05
[151 empty] | 763.2926 | 11639.6145 | 0.065721 | 9.1586e-05
[151 empty] | 776.4191 | 11838.492 | 0.065758 | 9.1396e-05
[151 empty] | 788.7644 | 12023.8088 | 0.065793 | 9.0832e-05
[151 empty] | 799.4874 | 12182.936 | 0.065822 | 8.9934e-05
[151 empty] | 807.8573 | 12305.0293 | 0.065845 | 8.8761e-05
[151 empty] | 813.3035 | 12381.7683 | 0.06586 | 8.7394e-05
[151 empty] | 815.4551 | 12407.9234 | 0.065864 | 8.5926e-05
[151 empty] | 1749.052 | 26297.1758 | 0.066646 | 4.1838e-05
[151 empty] | 1744.4568 | 26215.5103 | 0.066642 | 4.0753e-05
[151 empty] | 1729.3189 | 25976.1898 | 0.066628 | 3.9742e-05
[151 empty] | 1704.6698 | 25595.5235 | 0.066607 | 3.8874e-05
[151 empty] | 1672.1893 | 25099.4535 | 0.066579 | 3.8207e-05
[151 empty] | 1634.091 | 24521.7855 | 0.066546 | 3.7788e-05
[151 empty] | 1592.9712 | 23901.8873 | 0.066511 | 3.7645e-05
[151 empty] | 1551.6322 | 23282.0037 | 0.066476 | 3.7788e-05
[151 empty] | 1512.891 | 22704.3789 | 0.066443 | 3.8206e-05
[151 empty] | 1479.3879 | 22208.3762 | 0.066415 | 3.8872e-05
[151 empty] | 1453.4061 | 21827.7984 | 0.066394 | 3.974e-05
[151 empty] | 1436.7161 | 21588.5809 | 0.06638 | 4.0751e-05
[151 empty] | 1430.4554 | 21507.0259 | 0.066376 | 4.1836e-05
[151 empty] | 1435.0506 | 21588.6912 | 0.06638 | 4.2921e-05
[151 empty] | 1450.1885 | 21828.0115 | 0.066394 | 4.3932e-05
[151 empty] | 1474.8376 | 22208.6775 | 0.066415 | 4.4801e-05
[151 empty] | 1507.318 | 22704.747 | 0.066443 | 4.5467e-05
[151 empty] | 1545.4163 | 23282.4156 | 0.066476 | 4.5886e-05
[151 empty] | 1586.5361 | 23902.3138 | 0.066511 | 4.603e-05
[151 empty] | 1627.8752 | 24522.1974 | 0.066546 | 4.5887e-05
[151 empty] | 1666.6164 | 25099.8225 | 0.066579 | 4.5468e-05
[151 empty] | 1700.1195 | 25595.8249 | 0.066607 | 4.4803e-05
[151 empty] | 1726.1013 | 25976.4028 | 0.066628 | 4.3934e-05
[151 empty] | 1742.7913 | 26215.6206 | 0.066642 | 4.2923e-05
[151 empty] | 1749.052 | 26297.1758 | 0.066646 | 4.1838e-05

## Age Plateau
SC1F5091.AGE >>> HS 109 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
295.56 ± 1.88
Total Fusion
290.60 ± 1.15
Normal Isochron
292.01 ± 2.65
Inverse Isochron
292.14 ± 2.49
MSWD
22.83
Sample Info
Biotite
Scottish Carboniferous
msp
EK42
0.011612 (J)

## K-Ca Plateau
SC1F5091.AGE >>> HS 109 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
295.56 ± 1.88
Total Fusion
290.60 ± 1.15
Normal Isochron
292.01 ± 2.65
Inverse Isochron
292.14 ± 2.49
Sample Info
Biotite
Scottish Carboniferous
msp
EK42
0.011612 (J)

## Normal Isochron
SC1F5091.AGE >>> HS 109 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
295.56 ± 1.88
Total Fusion
290.60 ± 1.15
Normal Isochron
292.01 ± 2.65
Inverse Isochron
292.14 ± 2.49
MSWD
10.11
Sample Info
Biotite
Scottish Carboniferous
msp
EK42
0.011612 (J)

## Inverse Isochron
SC1F5091.AGE >>> HS 109 >>> S Carboniferous
Ar-Ages in Ma
Weighted Plateau
295.56 ± 1.88
Total Fusion
290.60 ± 1.15
Normal Isochron
292.01 ± 2.65
Inverse Isochron
292.14 ± 2.49
MSWD
8.95
Sample Info
Biotite
Scottish Carboniferous
msp
EK42
0.011612 (J)