Table 2. Technical and data acquisition parameters

| Inductively coupled plasma mass spectrometry (ICP-MS) |  |
| --- | --- |
| Model | Element I, ThermoFinningan Mat |
| Type | Single-collector double-focusing magnetic sector field |
| ICP torch | Capacitive decoupling CD-2 |
| RF power | 1200 W |
| Gas flow: |  |
| cooling | 13.5 l min -1 |
| auxiliary | 1.5 l min -1 |
| Carrier I (Ar) | 1.0 l min -1 |
| Carrier II (He) | 1.0 l min -1 |
| Laser ablation (LA) |  |
| Model | Geolas 200 Q-Microlas |
| Type | Excimer ARF |
| Wavelength | 193 nm |
| Repetion rate | 5 Hz |
| Energy density | 12 J cm -2 |
| Spot diameter | 20 and 10 m |
| Data acquisition |  |
| Determined isotopes | 202Hg, 204(Pb+Hg), 206Pb, 207Pb, 208Pb, 232Th, 238U |
| Data reduction software | GLITTER (van Achterbergh et al. 2001) |

Table 3. LA-ICP-MS U-Th-Pb isotope analyses and calculated ages of Samples LIS1 (1) and LIS2 (6) from Case Lisetto Metarhyolites, EZE (2) from Eze fm., LIC (3) from C-Lithozone, LiDn (4), LIDv (5) from D-Lithozone and zircon standard 02123 (COR = cores, OZO = oscillatory zoned overgrowths, HP = homogeneous patches; disc = discordant, NA = not analysed).

| Sample | Analysis_# | Spot size (m) | Zircon and spot location | Isotopic ratios |  |  |  |  |  |  |  |  | Age estimates |  |  |  |  |  |  |  |  | Concordia age |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Pb207/ Pb206 | rsd | Pb206/ U238 | rsd | Pb207/ U235 | rsd | Pb208/ Th232 | rsd |  | Pb207/ Pb206 | 1 | Pb206/ U238 | 1 | Pb207/ U235 | 1 | Pb208/ Th232 | 1 |  | Age (Ma) | 2 |  |
| LIS1 (1) Locality: Osiglia Geographical coordinates: Long: 8° 11' 53'' Lat: 44° 16' 45’' | Ap05a05 | 20 | z6 - COR | 0.05258 | 0.0288 | 0.04576 | 0.0219 | 0.33231 | 0.0288 | 0.01304 | 0.0254 |  | 310.9 | 9.0 | 288.4 | 6.3 | 291.3 | 8.4 | 261.9 | 6.7 |  | 289 | 12 |  |
|  | Ap05a06 | 20 | z6 - OZO | 0.05189 | 0.0265 | 0.04528 | 0.0211 | 0.32494 | 0.0263 | 0.01453 | 0.0271 |  | 280.5 | 7.4 | 285.5 | 6.0 | 285.7 | 7.5 | 291.6 | 7.9 |  | 286 | 12 |  |
|  | Ap05a07 | 20 | z6 - COR | 0.10734 | 0.0249 | 0.04009 | 0.0215 | 0.59492 | 0.0244 | 0.02405 | 0.0222 |  | 1754.7 | 43.7 | 253.4 | 5.4 | 474 | 11.5 | 480.4 | 10.7 |  | disc | - |  |
|  | Ap05a08 | 20 | z6 - HP | 0.0515 | 0.0286 | 0.04134 | 0.0222 | 0.29317 | 0.0288 | 0.0137 | 0.0240 |  | 263.1 | 7.5 | 261.1 | 5.8 | 261.1 | 7.5 | 275.1 | 6.6 |  | 261 | 11 |  |
|  | Ap05a09 | 20 | z8 - OZO | 0.05211 | 0.0246 | 0.0449 | 0.0207 | 0.32266 | 0.0244 | 0.01439 | 0.0233 |  | 290.2 | 7.1 | 283.2 | 5.9 | 283.9 | 6.9 | 288.8 | 6.7 |  | 283 | 11 |  |
|  | Ap05a10 | 20 | z10 - HP | 0.05065 | 0.0375 | 0.03255 | 0.0231 | 0.22727 | 0.0372 | 0.01142 | 0.0286 |  | 225.1 | 8.5 | 206.5 | 4.8 | 207.9 | 7.7 | 229.4 | 6.6 |  | 207 | 9 |  |
|  | Ap05a11 | 20 | z12 - COR | 0.14279 | 0.0181 | 0.0356 | 0.0209 | 0.70529 | 0.0182 | 0.04513 | 0.0197 |  | 2261.3 | 40.8 | 225.5 | 4.7 | 541.9 | 9.9 | 892.2 | 17.6 |  | disc | - |  |
|  | Ap05a12 | 20 | z13 - OZO | 0.05367 | 0.0236 | 0.04516 | 0.0208 | 0.33401 | 0.0234 | 0.01424 | 0.0214 |  | 357.2 | 8.4 | 284.7 | 5.9 | 292.6 | 6.8 | 285.7 | 6.1 |  | disc | - |  |
|  | Ap05a13 | 20 | z15 - OZO | 0.05229 | 0.0257 | 0.04309 | 0.0213 | 0.31128 | 0.0256 | 0.01227 | 0.0220 |  | 298.1 | 7.7 | 272 | 5.8 | 275.2 | 7.1 | 246.4 | 5.4 |  | 273 | 11 |  |
|  | Ap05a17 | 20 | z22 - HP | 0.05046 | 0.0203 | 0.03845 | 0.0212 | 0.26822 | 0.0207 | 0.01219 | 0.0221 |  | 216.2 | 4.4 | 243.2 | 5.2 | 241.3 | 5.0 | 245 | 5.4 |  | 242 | 8 |  |
|  | Ap05a18 | 20 | z26 - HP | 0.05563 | 0.0194 | 0.03778 | 0.0209 | 0.28974 | 0.0197 | 0.01179 | 0.0206 |  | 437.4 | 8.5 | 239 | 5.0 | 258.4 | 5.1 | 236.8 | 4.9 |  | disc | - |  |
|  | Ap05a19 | 20 | z29 - OZO | 0.05289 | 0.0202 | 0.04566 | 0.0210 | 0.3329 | 0.0203 | 0.01345 | 0.0204 |  | 324 | 6.5 | 287.8 | 6.1 | 291.8 | 5.9 | 270.1 | 5.5 |  | 290 | 10 |  |
|  | Ap05a20 | 20 | z29 - COR | 0.29222 | 0.0158 | 0.06274 | 0.0208 | 2.52683 | 0.0163 | 0.09896 | 0.0190 |  | 3429.5 | 54.3 | 392.3 | 8.2 | 1279.8 | 20.9 | 1907.3 | 36.2 |  | disc | - |  |
|  | Ap05a21 | 20 | z30 - HP | 0.04478 | 0.0175 | 0.04246 | 0.0208 | 0.262 | 0.0179 | 0.00861 | 0.0247 |  | 0.1 | 0.0 | 268 | 5.6 | 236.3 | 4.2 | 173.3 | 4.3 |  | disc | - |  |
|  | Ap05a22 | 20 | z31 - OZO | 0.05193 | 0.0192 | 0.04598 | 0.0210 | 0.32899 | 0.0195 | 0.01322 | 0.0201 |  | 282.2 | 5.4 | 289.8 | 6.1 | 288.8 | 5.6 | 265.5 | 5.3 |  | 289 | 9 |  |
|  | Ap05a23 | 20 | z32 - HP | 0.0509 | 0.0276 | 0.03972 | 0.0223 | 0.27872 | 0.0280 | 0.01524 | 0.0290 |  | 236.4 | 6.5 | 251.1 | 5.6 | 249.6 | 7.0 | 305.8 | 8.9 |  | 251 | 11 |  |
|  | Ap05a24 | 20 | z34 - OZO | 0.07086 | 0.0318 | 0.03362 | 0.0229 | 0.3282 | 0.0316 | 0.01292 | 0.0275 |  | 953.4 | 30.4 | 213.2 | 4.9 | 288.2 | 9.1 | 259.6 | 7.1 |  | disc | - |  |
|  | Ap05a25 | 20 | z34 - COR | 0.05897 | 0.0244 | 0.04206 | 0.0222 | 0.34167 | 0.0249 | 0.01548 | 0.0259 |  | 565.9 | 13.8 | 265.6 | 5.9 | 298.4 | 7.4 | 310.4 | 8.0 |  | disc | - |  |
|  | Ap05a26 | 20 | z38 - HP | 0.05653 | 0.0372 | 0.03079 | 0.0233 | 0.23976 | 0.0370 | 0.01278 | 0.0311 |  | 472.4 | 17.6 | 195.5 | 4.6 | 218.2 | 8.1 | 256.6 | 8.0 |  | disc | - |  |
|  | Ap05a27 | 20 | z39 - COR | 0.2273 | 0.0185 | 0.03616 | 0.0222 | 1.13216 | 0.0192 | 0.07706 | 0.0212 |  | 3033.1 | 56.0 | 229 | 5.1 | 768.8 | 14.8 | 1500.5 | 31.8 |  | disc | - |  |
|  | Ap05a28 | 20 | z39 - HP | 0.05058 | 0.0306 | 0.0406 | 0.0224 | 0.28284 | 0.0308 | 0.01214 | 0.0281 |  | 221.7 | 6.8 | 256.5 | 5.7 | 252.9 | 7.8 | 243.9 | 6.8 |  | 256 | 11 |  |
|  | Ap05a29 | 20 | Z46 - OZO | 0.05178 | 0.0252 | 0.0441 | 0.0211 | 0.31566 | 0.0251 | 0.01458 | 0.0221 |  | 275.6 | 7.0 | 278.2 | 5.9 | 278.6 | 7.0 | 292.6 | 6.5 |  | 278 | 11 |  |
|  | Ap05a30 | 20 | z47 - OZO | 0.05253 | 0.0213 | 0.04529 | 0.0219 | 0.32735 | 0.0220 | 0.01283 | 0.0232 |  | 308.5 | 6.6 | 285.6 | 6.2 | 287.5 | 6.3 | 257.6 | 6.0 |  | 287 | 11 |  |
|  | Ap05a31 | 20 | z49 - COR | 0.09255 | 0.0163 | 0.02492 | 0.02105 | 0.31773 | 0.017 | 0.0315 | 0.01968 |  | 1478.5 | 24.1 | 158.7 | 3.34 | 280.2 | 4.76 | 626.8 | 12.34 |  | disc | - |  |
| LIS2 (6) Locality: Case Lisetto Geographical coordinates: Long: 7° 55' 26'' Lat: 44° 18' 09'' | jL02C05 | 20 | z1 - OZO | 0.05136 | 0.0205 | 0.04843 | 0.0191 | 0.3432 | 0.0208 | 0.01446 | 0.0291 |  | 256.9 | 5.3 | 304.9 | 5.8 | 299.6 | 6.2 | 290.1 | 8.4 |  | disc | - |  |
|  | jL02C06 | 20 | z4 - COR | 0.05538 | 0.0253 | 0.04481 | 0.0204 | 0.33972 | 0.0259 | 0.01675 | 0.0358 |  | 427.2 | 10.8 | 282.6 | 5.8 | 297 | 7.7 | 335.8 | 12.0 |  | disc | - |  |
|  | jL02C07 | 20 | z5 - HP | 0.04537 | 0.0213 | 0.03984 | 0.0191 | 0.24945 | 0.0215 | 0.0128 | 0.0288 |  | 0.1 | 0.0 | 251.9 | 4.8 | 226.1 | 4.9 | 257 | 7.4 |  | disc | - |  |
|  | jL02C08 | 20 | z6 - HP | 0.05133 | 0.0204 | 0.0315 | 0.0191 | 0.22313 | 0.0207 | 0.01181 | 0.0290 |  | 255.4 | 5.2 | 199.9 | 3.8 | 204.5 | 4.2 | 237.2 | 6.9 |  | disc | - |  |
|  | jL02C09 | 20 | z10 - OZO | 0.05191 | 0.0202 | 0.0457 | 0.0193 | 0.32725 | 0.0206 | 0.01355 | 0.0286 |  | 281.3 | 5.7 | 288.1 | 5.5 | 287.5 | 5.9 | 272 | 7.8 |  | 288 | 10 |  |
|  | jL02C10 | 20 | z11 - OZO | 0.05497 | 0.0201 | 0.04093 | 0.0192 | 0.31031 | 0.0205 | 0.01364 | 0.0286 |  | 411 | 8.2 | 258.6 | 5.0 | 274.4 | 5.6 | 273.8 | 7.8 |  | disc | - |  |
|  | jL02C11 | 20 | z15 - COR | 0.08263 | 0.0202 | 0.04737 | 0.0191 | 0.54029 | 0.0205 | 0.04466 | 0.0286 |  | 1260.4 | 25.4 | 298.4 | 5.7 | 438.6 | 9.0 | 883.1 | 25.2 |  | disc | - |  |
|  | jL02C12 | 20 | z22 - OZO | 0.05151 | 0.0211 | 0.0466 | 0.0192 | 0.33135 | 0.0214 | 0.01433 | 0.0289 |  | 263.8 | 5.6 | 293.6 | 5.6 | 290.6 | 6.2 | 287.6 | 8.3 |  | 292 | 11 |  |
|  | jL02C13 | 20 | z23 - COR | 0.14536 | 0.0200 | 0.03234 | 0.0193 | 0.64879 | 0.0205 | 0.20149 | 0.0285 |  | 2292 | 45.9 | 205.2 | 4.0 | 507.7 | 10.4 | 3710.3 | 105.8 |  | disc | - |  |
|  | jL02C14 | 20 | z24 - COR | 0.05302 | 0.0213 | 0.04509 | 0.0193 | 0.32991 | 0.0217 | 0.01567 | 0.0315 |  | 329.5 | 7.0 | 284.3 | 5.5 | 289.5 | 6.3 | 314.3 | 9.9 |  | disc | - |  |
|  | jL02C15 | 20 | z25 - OZO | 0.0526 | 0.0211 | 0.04629 | 0.0194 | 0.33601 | 0.0215 | 0.01546 | 0.0296 |  | 311.5 | 6.6 | 291.7 | 5.7 | 294.1 | 6.3 | 310 | 9.2 |  | 293 | 11 |  |
|  | jL02C16 | 20 | z27 - OZO | 0.05187 | 0.0207 | 0.04366 | 0.0194 | 0.31266 | 0.0212 | 0.0143 | 0.0294 |  | 279.8 | 5.8 | 275.5 | 5.3 | 276.2 | 5.8 | 287 | 8.4 |  | 276 | 10 |  |

Table 3. Continued

| Sample | Analysis_# | Spot size (m) | Zircon and spot location | Isotopic ratios |  |  |  |  |  |  |  |  | Age estimates |  |  |  |  |  |  |  |  | Concordia age |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Pb207/ Pb206 | rsd | Pb206/ U238 | rsd | Pb207/ U235 | rsd | Pb208/ Th232 | rsd |  | Pb207/ Pb206 | 1 | Pb206/ U238 | 1 | Pb207/ U235 | 1 | Pb208/ Th232 | 1 |  | Age (Ma) | 2 |  |
| LIS2 (6) Locality: Case Lisetto Geographical coordinates: Long: 7° 55' 26'' Lat: 44° 18' 09'' | jL02C20 | 20 | z30 - COR | 0.05147 | 0.0211 | 0.04734 | 0.0195 | 0.33624 | 0.0216 | 0.01661 | 0.0323 |  | 261.7 | 5.5 | 298.1 | 5.8 | 294.3 | 6.4 | 333 | 10.8 |  | 296 | 11 |  |
|  | jL02C21 | 20 | z32 - COR | 0.05186 | 0.0220 | 0.04875 | 0.0194 | 0.34834 | 0.0223 | 0.02126 | 0.0311 |  | 279.4 | 6.1 | 306.9 | 5.9 | 303.5 | 6.8 | 425.2 | 13.2 |  | 305 | 11 |  |
|  | jL02C22 | 20 | z34 - HP | 0.06357 | 0.0203 | 0.02297 | 0.0197 | 0.20144 | 0.0209 | 0.01242 | 0.0289 |  | 727.4 | 14.7 | 146.4 | 2.9 | 186.3 | 3.9 | 249.5 | 7.2 |  | disc | - |  |
|  | jL02C23 | 20 | z35 - COR | 0.05935 | 0.0283 | 0.04527 | 0.0203 | 0.3697 | 0.0285 | 0.01516 | 0.0315 |  | 580 | 16.4 | 285.4 | 5.8 | 319.4 | 9.1 | 304.1 | 9.6 |  | disc | - |  |
|  | jL02C24 | 20 | z37 - OZO | 0.05129 | 0.0217 | 0.04408 | 0.0202 | 0.31171 | 0.0227 | 0.0139 | 0.0298 |  | 253.8 | 5.5 | 278.1 | 5.6 | 275.5 | 6.3 | 279 | 8.3 |  | 277 | 11 |  |
|  | jL02C25 | 20 | z40 - OZO | 0.06481 | 0.0206 | 0.02225 | 0.0199 | 0.19893 | 0.0214 | 0.00869 | 0.0287 |  | 768.1 | 15.8 | 141.9 | 2.8 | 184.2 | 3.9 | 174.9 | 5.0 |  | disc | - |  |
|  | jL02C26 | 20 | z41 - OZO | 0.05072 | 0.0249 | 0.04174 | 0.0209 | 0.29233 | 0.0259 | 0.01353 | 0.0360 |  | 228.1 | 5.7 | 263.6 | 5.5 | 260.4 | 6.7 | 271.7 | 9.8 |  | 263 | 11 |  |
|  | jL02C27 | 20 | z43 - COR | 0.06854 | 0.0305 | 0.03738 | 0.0217 | 0.35455 | 0.0312 | 0.01496 | 0.0338 |  | 884.8 | 27.0 | 236.5 | 5.1 | 308.1 | 9.6 | 300.2 | 10.1 |  | disc | - |  |
|  | jL02C28 | 20 | z46 - OZO | 0.05149 | 0.0204 | 0.04669 | 0.0197 | 0.33165 | 0.0212 | 0.01686 | 0.0292 |  | 262.6 | 5.4 | 294.2 | 5.8 | 290.8 | 6.2 | 338 | 9.9 |  | 291 | 11 |  |
|  | jL02C29 | 20 | z47 - OZO | 0.0512 | 0.0215 | 0.04523 | 0.0200 | 0.31933 | 0.0224 | 0.01417 | 0.0300 |  | 249.6 | 5.4 | 285.2 | 5.7 | 281.4 | 6.3 | 284.4 | 8.5 |  | 283 | 11 |  |
|  | jL02C30 | 20 | z48 - OZO | 0.05253 | 0.0206 | 0.04698 | 0.0197 | 0.33327 | 0.0213 | 0.01515 | 0.0294 |  | 260.9 | 5.4 | 296 | 5.8 | 292.1 | 6.2 | 304 | 8.9 |  | 293 | 11 |  |
| EZE (2) Locality: Colle dei Giovetti Geographical coordinates: Long: 8° 05' 13'' Lat: 44° 17' 59'' | Ma22b05 | 20 | z1 - COR | 0.05685 | 0.0202 | 0.08004 | 0.0168 | 0.62687 | 0.0201 | 0.02581 | 0.0284 |  | 485.1 | 9.8 | 496.4 | 8.4 | 494.1 | 9.9 | 515.1 | 14.6 |  | 495 | 15 |  |
|  | Ma22b06 | 20 | z2 - COR | 0.05651 | 0.0208 | 0.08219 | 0.0169 | 0.63983 | 0.0206 | 0.02696 | 0.0282 |  | 471.7 | 9.8 | 509.2 | 8.6 | 502.2 | 10.3 | 537.7 | 15.1 |  | 505 | 16 |  |
|  | Ma22b07 | 20 | z3 - COR | 0.06127 | 0.0197 | 0.10277 | 0.0168 | 0.86728 | 0.0197 | 0.0347 | 0.0270 |  | 648.6 | 12.8 | 630.6 | 10.6 | 634.1 | 12.5 | 689.4 | 18.6 |  | 633 | 18 |  |
|  | Ma22b08 | 20 | z4 - COR | 0.05714 | 0.0199 | 0.07631 | 0.0168 | 0.60059 | 0.0197 | 0.02742 | 0.0279 |  | 496.2 | 9.9 | 474.1 | 8.0 | 477.6 | 9.4 | 546.8 | 15.3 |  | 476 | 15 |  |
|  | Ma22b09 | 20 | z4 - COR | 0.05886 | 0.0218 | 0.07752 | 0.0169 | 0.62886 | 0.0216 | 0.03885 | 0.0307 |  | 561.9 | 12.3 | 481.3 | 8.1 | 495.4 | 10.7 | 770.5 | 23.6 |  | disc | - |  |
|  | Ma22b10 | 20 | z5 - COR | 0.06034 | 0.0222 | 0.09959 | 0.0170 | 0.82796 | 0.0219 | 0.03814 | 0.0345 |  | 615.9 | 13.6 | 612 | 10.4 | 612.5 | 13.4 | 756.5 | 26.1 |  | 612 | 19 |  |
|  | Ma22b11 | 20 | z5 - COR | 0.05755 | 0.0221 | 0.08656 | 0.0167 | 0.68695 | 0.0217 | 0.04002 | 0.0312 |  | 512.5 | 11.3 | 535.2 | 8.9 | 531 | 11.5 | 793.1 | 24.8 |  | 533 | 16 |  |
|  | Ma22b12 | 20 | z6 - COR | -0.8332 | 0.8343 | 0.0677 | 0.7813 | -7.74123 | 0.6455 | 0.08938 | 0.6892 |  | 0.1 | - | 422.3 | - | NA | - | 1730.4 | - |  | disc | - |  |
|  | Ma22b13 | 20 | z7 - COR | -1.0201 | 0.4874 | 0.07639 | 0.5229 | -10.68882 | 0.3888 | 0.07201 | 4.4813 |  | 0.1 | - | 474.5 | - | NA | - | 1405.5 | - |  | disc | - |  |
|  | Ma22b14 | 20 | z8 - COR | 0.75485 | 0.0253 | 1.10621 | 0.0253 | 114.47957 | 0.0272 | 0.54567 | 0.0290 |  | 4838.8 | 122.6 | 4801.9 | 121.5 | 4822.1 | 131.2 | 8801.6 | 255.6 |  | disc | - |  |
|  | Ma22b15 | 20 | z9 - COR | 0.06476 | 0.0198 | 0.12692 | 0.0168 | 1.13163 | 0.0198 | 0.03533 | 0.0269 |  | 766.6 | 15.2 | 770.3 | 13.0 | 768.5 | 15.2 | 701.7 | 18.9 |  | 769 | 21 |  |
|  | Ma22b16 | 20 | z11 - COR | 0.07584 | 0.0202 | 0.17523 | 0.0167 | 1.83169 | 0.0200 | 0.05291 | 0.0273 |  | 1090.7 | 22.0 | 1040.9 | 17.4 | 1056.9 | 21.1 | 1042 | 7.2 |  | disc | - |  |
| LIC (3) Locality: Valcasotto Geographical coordinates: Long: 7° 54' 05'' Lat: 44° 15' 37'' | Ju23d05 | 20 | z1-OZO | 0.0517 | 0.0145 | 0.04254 | 0.0159 | 0.3024 | 0.0193 | 0.01267 | 0.0154 |  | 272.1 | 3.9 | 268.5 | 4.3 | 268.3 | 5.2 | 254.5 | 3.9 |  | 269 | 8 |  |
|  | Ju23d06 | 20 | z2-OZO | 0.05179 | 0.0184 | 0.04315 | 0.0151 | 0.3084 | 0.0217 | 0.01332 | 0.0162 |  | 276.2 | 5.1 | 272.3 | 4.1 | 272.9 | 5.9 | 267.5 | 4.3 |  | 272 | 8 |  |
|  | Ju23d07 | 20 | z3-OZO | 0.05161 | 0.0385 | 0.04361 | 0.0171 | 0.3116 | 0.0360 | 0.01304 | 0.0275 |  | 268.3 | 7.1 | 275.2 | 5.1 | 275.4 | 8.3 | 261.8 | 7.0 |  | 275 | 10 |  |
|  | Ju23d08 | 20 | z4-HP | 0.05104 | 0.0135 | 0.03997 | 0.0152 | 0.28139 | 0.0181 | 0.013 | 0.0139 |  | 242.5 | 3.3 | 252.7 | 3.8 | 251.8 | 4.6 | 261.1 | 3.6 |  | 252 | 7 |  |
|  | Ju23d09 | 20 | z4-OZO | 0.05151 | 0.0153 | 0.04309 | 0.0146 | 0.30615 | 0.0190 | 0.01453 | 0.0218 |  | 263.5 | 4.0 | 272 | 4.0 | 271.2 | 5.2 | 291.5 | 6.4 |  | 272 | 8 |  |
|  | Ju23d10 | 20 | z5-COR | 0.06194 | 0.0127 | 0.10623 | 0.0148 | 0.90749 | 0.0173 | 0.02832 | 0.0138 |  | 671.9 | 8.5 | 650.8 | 9.6 | 655.7 | 11.3 | 564.5 | 7.8 |  | 655 | 17 |  |
|  | Ju23d11 | 20 | z5-COR | 0.06638 | 0.0139 | 0.13323 | 0.0155 | 1.2187 | 0.0186 | 0.03897 | 0.0148 |  | 818.4 | 11.4 | 806.3 | 12.5 | 809.2 | 15.1 | 772.8 | 11.4 |  | 809 | 21 |  |
|  | Ju23d12 | 20 | z6-OZO | 0.05142 | 0.0130 | 0.04232 | 0.0157 | 0.29964 | 0.0183 | 0.0148 | 0.0197 |  | 259.5 | 3.4 | 267.2 | 4.2 | 266.1 | 4.9 | 296.9 | 5.8 |  | 267 | 8 |  |
|  | Ju23d13 | 20 | z7-OZO | 0.0515 | 0.0126 | 0.04534 | 0.0146 | 0.32205 | 0.0171 | 0.01266 | 0.0136 |  | 263.3 | 3.3 | 285.9 | 4.2 | 283.5 | 4.9 | 254.3 | 3.4 |  | 285 | 8 |  |
|  | Ju23d14 | 20 | z8-OZO | 0.05179 | 0.0131 | 0.04448 | 0.0147 | 0.31774 | 0.0175 | 0.01372 | 0.0141 |  | 276.2 | 3.6 | 280.6 | 4.1 | 280.2 | 4.9 | 275.3 | 3.9 |  | 280 | 8 |  |
|  | Ju23d15 | 20 | z9-OZO | 0.05119 | 0.0125 | 0.04355 | 0.0148 | 0.30752 | 0.0173 | 0.01415 | 0.0144 |  | 249.5 | 3.1 | 274.8 | 4.1 | 272.3 | 4.7 | 283.9 | 4.1 |  | 274 | 8 |  |
|  | Ju23d16 | 20 | z11-HP | 0.05212 | 0.0381 | 0.03901 | 0.0183 | 0.28016 | 0.0396 | 0.01254 | 0.0285 |  | 290.6 | 11.1 | 246.7 | 4.5 | 250.8 | 9.9 | 251.9 | 7.2 |  | 247 | 9 |  |
|  | Ju23d20 | 20 | z14-OZO | 0.05069 | 0.0155 | 0.04172 | 0.0147 | 0.29162 | 0.0193 | 0.0128 | 0.0214 |  | 226.9 | 3.5 | 263.5 | 3.9 | 259.8 | 5.0 | 257 | 5.5 |  | 263 | 8 |  |
|  | Ju23d21 | 20 | z19-HP | 0.05021 | 0.0114 | 0.03993 | 0.0152 | 0.27649 | 0.0168 | 0.0126 | 0.0148 |  | 204.5 | 2.3 | 252.4 | 3.8 | 247.9 | 4.2 | 253.2 | 3.8 |  | disc | - |  |

Table 3. Continued

| Sample | Analysis_# | Spot size (m) | Zircon and spot location | Isotopic ratios |  |  |  |  |  |  |  |  | Age estimates |  |  |  |  |  |  |  |  | Concordia age |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Pb207/ Pb206 | rsd | Pb206/ U238 | rsd | Pb207/ U235 | rsd | Pb208/ Th232 | rsd |  | Pb207/ Pb206 | 1 | Pb206/ U238 | 1 | Pb207/ U235 | 1 | Pb208/ Th232 | 1 |  | Age (Ma) | 2 |  |
| LIC (3) Locality: Valcasotto Geographical coordinates: Long: 7° 54' 05'' Lat: 44° 15' 37'' | Ju23d22 | 20 | z20 - HP | 0.0514 | 0.0112 | 0.03893 | 0.0152 | 0.27592 | 0.0167 | 0.01262 | 0.0130 |  | 258.7 | 2.9 | 246.2 | 3.7 | 247.4 | 4.1 | 253.5 | 3.3 |  | 247 | 7 |  |
|  | Ju23d23 | 20 | z22 - OZO | 0.05212 | 0.0157 | 0.04397 | 0.0147 | 0.31561 | 0.0193 | 0.01397 | 0.0134 |  | 290.6 | 4.6 | 277.4 | 4.1 | 278.5 | 5.4 | 280.4 | 3.7 |  | 278 | 8 |  |
|  | Ju23d24 | 20 | z23 - OZO | 0.05107 | 0.0133 | 0.03955 | 0.0146 | 0.27865 | 0.0176 | 0.01347 | 0.0186 |  | 244.1 | 3.2 | 250 | 3.6 | 249.6 | 4.4 | 270.4 | 5.0 |  | 250 | 7 |  |
|  | Ju23d25 | 20 | z34 - HP | 0.04984 | 0.0107 | 0.04044 | 0.0149 | 0.27792 | 0.0161 | 0.0121 | 0.0127 |  | 187.5 | 2.0 | 255.6 | 3.8 | 249 | 4.0 | 243 | 3.1 |  | disc | - |  |
|  | Ju23d26 | 20 | z35 - OZO | 0.0493 | 0.0128 | 0.04496 | 0.0150 | 0.30578 | 0.0175 | 0.01198 | 0.0140 |  | 162.1 | 2.1 | 283.5 | 4.3 | 270.9 | 4.8 | 240.7 | 3.4 |  | disc | - |  |
|  | Ju23d27 | 20 | z36 - OZO | 0.05172 | 0.0137 | 0.04371 | 0.0155 | 0.31197 | 0.0185 | 0.01275 | 0.0154 |  | 273 | 3.7 | 275.8 | 4.3 | 275.7 | 5.1 | 256.2 | 3.9 |  | 276 | 8 |  |
|  | Ju23d28 | 20 | z37 - OZO | 0.05176 | 0.0109 | 0.04247 | 0.0148 | 0.30311 | 0.0163 | 0.01038 | 0.0117 |  | 274.6 | 3.0 | 268.1 | 4.0 | 268.8 | 4.4 | 208.8 | 2.4 |  | 269 | 8 |  |
|  | Ju23d29 | 20 | z39 - OZO | 0.05229 | 0.0209 | 0.04348 | 0.0162 | 0.31336 | 0.0242 | 0.01562 | 0.0183 |  | 298.1 | 6.2 | 274.4 | 4.4 | 276.8 | 6.7 | 313.3 | 5.7 |  | 275 | 9 |  |
|  | Ju23d30 | 20 | z42 - HP | 0.04915 | 0.0108 | 0.04205 | 0.0150 | 0.28496 | 0.0162 | 0.01163 | 0.0129 |  | 154.8 | 1.7 | 265.5 | 4.0 | 254.6 | 4.1 | 233.7 | 3.0 |  | disc | - |  |
|  | Ju23d31 | 20 | z42 - OZO | 0.05147 | 0.01227 | 0.04234 | 0.01495 | 0.30047 | 0.0172 | 0.01372 | 0.0135 |  | 261.7 | 3.21 | 267.3 | 4 | 266.8 | 4.59 | 275.4 | 3.7 |  | 267 | 8 |  |
|  | Ju23d32 | 20 | z49 - OZO | 0.0552 | 0.02845 | 0.0376 | 0.01704 | 0.2869 | 0.0307 | 0.0135 | 0.02319 |  | 419.1 | 11.92 | 238 | 4.1 | 256.1 | 7.9 | 271.7 | 6.3 |  | disc | - |  |
| LiDn (4) Locality: Aimoni Geographical coordinates: Long: 7° 52' 58'' Lat: 44° 07' 50'' | Ma20b05 | 20 | z1-COR | 0.0518 | 0.0326 | 0.04241 | 0.0195 | 0.30258 | 0.0312 | 0.01324 | 0.0154 |  | 276.5 | 9.0 | 267.8 | 5.2 | 268.4 | 8.4 | 265.9 | 5.7 |  | 268 | 10 |  |
|  | Ma20b06 | 20 | z2-COR | 0.05199 | 0.0324 | 0.04285 | 0.0204 | 0.30742 | 0.0315 | 0.01281 | 0.0162 |  | 285.1 | 9.2 | 270.4 | 5.5 | 272.2 | 8.6 | 257.3 | 5.6 |  | 271 | 11 |  |
|  | Ma20b07 | 20 | z3-COR | 0.06247 | 0.0287 | 0.04466 | 0.0190 | 0.38466 | 0.0272 | 0.01547 | 0.0275 |  | 690.3 | 19.8 | 281.7 | 5.3 | 330.5 | 9.0 | 310.2 | 6.1 |  | disc | - |  |
|  | Ma20b08 | 20 | z5-OZO | 0.0505 | 0.0258 | 0.04091 | 0.0187 | 0.28491 | 0.0244 | 0.01117 | 0.0139 |  | 218.2 | 5.6 | 258.5 | 4.8 | 254.5 | 6.2 | 224.6 | 5.0 |  | 258 | 9 |  |
|  | Ma20b09 | 20 | z6-OZO | 0.05164 | 0.0309 | 0.04095 | 0.0191 | 0.29161 | 0.0295 | 0.01354 | 0.0218 |  | 269.3 | 8.3 | 258.7 | 5.0 | 259.8 | 7.7 | 271.8 | 5.4 |  | 259 | 10 |  |
|  | Ma20b10 | 20 | z6-COR | 0.05108 | 0.0289 | 0.0431 | 0.0189 | 0.30367 | 0.0274 | 0.01423 | 0.0138 |  | 244.6 | 7.1 | 272 | 5.2 | 269.3 | 7.4 | 285.7 | 6.3 |  | 272 | 10 |  |
|  | Ma20b11 | 20 | z7-COR | 0.0782 | 0.0238 | 0.02156 | 0.0188 | 0.23261 | 0.0223 | 0.00908 | 0.0148 |  | 1152 | 27.4 | 137.5 | 2.6 | 212.3 | 4.7 | 182.8 | 3.2 |  | disc | - |  |
|  | Ma20b12 | 20 | z8-COR | 0.0512 | 0.0254 | 0.04279 | 0.0187 | 0.30226 | 0.0240 | 0.01281 | 0.0197 |  | 250 | 6.3 | 270.1 | 5.1 | 268.2 | 6.4 | 257.2 | 5.1 |  | 270 | 10 |  |
|  | Ma20b13 | 20 | z8-OZO | 0.06718 | 0.0253 | 0.01812 | 0.0194 | 0.16815 | 0.0241 | 0.00428 | 0.0136 |  | 843.3 | 21.3 | 115.8 | 2.2 | 157.8 | 3.8 | 86.4 | 1.7 |  | disc | - |  |
|  | Ma20b14 | 20 | z9-OZO | 0.05135 | 0.0337 | 0.04075 | 0.0199 | 0.28913 | 0.0325 | 0.01251 | 0.0141 |  | 256.5 | 8.6 | 257.5 | 5.1 | 257.9 | 8.4 | 251.3 | 6.2 |  | 258 | 10 |  |
|  | Ma20b15 | 20 | z9-HP | 0.10735 | 0.0266 | 0.02313 | 0.0187 | 0.33941 | 0.0247 | 0.01189 | 0.0144 |  | 1754.9 | 46.8 | 147.4 | 2.7 | 296.7 | 7.3 | 238.9 | 4.4 |  | disc | - |  |
|  | Ma20b16 | 20 | z10-COR | 0.05112 | 0.0285 | 0.0442 | 0.0185 | 0.30876 | 0.0267 | 0.01423 | 0.0285 |  | 246.3 | 7.0 | 278.8 | 5.2 | 273.2 | 7.3 | 285.5 | 6.2 |  | 278 | 10 |  |
|  | Ma20b20 | 20 | z13-COR | 0.0607 | 0.0270 | 0.0365 | 0.0196 | 0.30683 | 0.0260 | 0.01824 | 0.0214 |  | 628.7 | 17.0 | 231.1 | 4.5 | 271.7 | 7.1 | 365.3 | 8.3 |  | disc | - |  |
|  | Ma20b21 | 20 | z15-COR | 0.10394 | 0.0231 | 0.02456 | 0.0183 | 0.35152 | 0.0215 | 0.01503 | 0.0148 |  | 1695.6 | 39.2 | 156.4 | 2.9 | 305.9 | 6.6 | 301.4 | 5.0 |  | disc | - |  |
|  | Ma20b22 | 20 | z16-OZO | 0.05121 | 0.0417 | 0.04139 | 0.0207 | 0.29263 | 0.0404 | 0.0118 | 0.0186 |  | 250.1 | 10.4 | 261.4 | 5.4 | 260.6 | 10.5 | 237.1 | 6.9 |  | 261 | 11 |  |
|  | Ma20b23 | 20 | z16-COR | 0.07689 | 0.0246 | 0.04386 | 0.0185 | 0.46387 | 0.0229 | 0.01609 | 0.0134 |  | 1118.4 | 27.5 | 276.7 | 5.1 | 386.9 | 8.8 | 322.7 | 5.5 |  | disc | - |  |
|  | Ma20b24 | 20 | z19-COR | 0.05043 | 0.0248 | 0.03711 | 0.0184 | 0.25773 | 0.0232 | 0.01126 | 0.0130 |  | 215 | 5.3 | 234.9 | 4.3 | 232.8 | 5.4 | 226.3 | 4.1 |  | 234 | 8 |  |
|  | Ma20b25 | 20 | z20-OZO | 0.05862 | 0.0261 | 0.04111 | 0.0186 | 0.33176 | 0.0245 | 0.01476 | 0.0127 |  | 553.2 | 14.4 | 259.7 | 4.8 | 290.9 | 7.1 | 296.1 | 5.2 |  | disc | - |  |
|  | Ma20b26 | 20 | z21-OZO | 0.05055 | 0.0239 | 0.04086 | 0.0185 | 0.28433 | 0.0223 | 0.01355 | 0.0140 |  | 220.5 | 5.3 | 258.2 | 4.8 | 254.1 | 5.7 | 272 | 4.9 |  | 257 | 9 |  |
|  | Ma20b27 | 20 | z26-HP | 0.18943 | 0.0238 | 0.00767 | 0.0194 | 0.20169 | 0.0228 | 0.00541 | 0.0154 |  | 2737.2 | 65.1 | 49.3 | 1.0 | 186.6 | 4.2 | 109 | 1.9 |  | disc | - |  |
|  | Ma20b28 | 20 | z27-OZO | 0.08746 | 0.0242 | 0.01586 | 0.0196 | 0.19252 | 0.0232 | 0.00802 | 0.0117 |  | 1370.7 | 33.1 | 101.4 | 2.0 | 178.8 | 4.2 | 161.5 | 2.9 |  | disc | - |  |
|  | Ma20b29 | 20 | z34-HP | 0.09628 | 0.0256 | 0.01046 | 0.0199 | 0.13986 | 0.0246 | 0.00438 | 0.0183 |  | 1553.3 | 39.8 | 67.1 | 1.3 | 132.9 | 3.3 | 88.4 | 1.6 |  | disc | - |  |
|  | Ma20b30 | 20 | z36-COR | 0.70592 | 0.0283 | 0.08109 | 0.0223 | 7.94737 | 0.0255 | 0.20949 | 0.0129 |  | 4742.8 | 134.2 | 502.6 | 11.2 | 2225.1 | 56.8 | 3844.4 | 74.1 |  | disc | - |  |
|  | Ma20b31 | 20 | z42-OZO | 0.05231 | 0.03423 | 0.04025 | 0.02018 | 0.29232 | 0.0331 | 0.0129 | 0.0135 |  | 298.9 | 10.23 | 254.4 | 5.13 | 260.4 | 8.62 | 259 | 5.6 |  | 255 | 10 |  |

Table 3. Continued

| Sample | Analysis_# | Spot size (m) | Zircon and spot location | Isotopic ratios |  |  |  |  |  |  |  |  | Age estimates |  |  |  |  |  |  |  |  | Concordia age |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Pb207/ Pb206 | rsd | Pb206/ U238 | rsd | Pb207/ U235 | rsd | Pb208/ Th232 | rsd |  | Pb207/ Pb206 | 1 | Pb206/ U238 | 1 | Pb207/ U235 | 1 | Pb208/ Th232 | 1 |  | Age (Ma) | 2 |  |
| LiDv (5) Locality: Aimoni Geographical coordinates: Long: 7° 52' 47'' Lat: 44° 07' 52'' | Ma21a05 | 20 | z1 - COR | 0.05735 | 0.0196 | 0.071 | 0.0143 | 0.55908 | 0.0183 | 0.02427 | 0.0167 |  | 504.4 | 9.9 | 442.2 | 6.3 | 450.9 | 8.3 | 484.6 | 8.1 |  | disc | - |  |
|  | Ma21a06 | 20 | z2 - OZO | 0.0572 | 0.0256 | 0.03835 | 0.0156 | 0.30206 | 0.0248 | 0.01241 | 0.0179 |  | 498.9 | 12.8 | 242.6 | 3.8 | 268 | 6.7 | 249.3 | 4.5 |  | disc | - |  |
|  | Ma21a07 | 20 | z3 - OZO | 0.05596 | 0.0288 | 0.03666 | 0.0152 | 0.28241 | 0.0275 | 0.01276 | 0.0197 |  | 450.3 | 13.0 | 232.1 | 3.5 | 252.6 | 7.0 | 256.4 | 5.1 |  | disc | - |  |
|  | Ma21a08 | 20 | z5 - COR | 0.05258 | 0.0339 | 0.04301 | 0.0161 | 0.31164 | 0.0328 | 0.01226 | 0.0212 |  | 310.8 | 10.5 | 271.4 | 4.4 | 275.4 | 9.0 | 246.3 | 5.2 |  | 272 | 9 |  |
|  | Ma21a09 | 20 | z6 - HP | 0.08404 | 0.0199 | 0.02983 | 0.0149 | 0.34504 | 0.0189 | 0.01189 | 0.0139 |  | 1293.4 | 25.8 | 189.5 | 2.8 | 301 | 5.7 | 238.8 | 3.3 |  | disc | - |  |
|  | Ma21a10 | 20 | z8 - COR | 0.05244 | 0.0226 | 0.04468 | 0.0142 | 0.32303 | 0.0213 | 0.01339 | 0.0140 |  | 304.5 | 6.9 | 281.8 | 4.0 | 284.2 | 6.0 | 268.9 | 3.8 |  | 282 | 8 |  |
|  | Ma21a11 | 20 | z10 - OZO | 0.05136 | 0.0189 | 0.04168 | 0.0147 | 0.29521 | 0.0180 | 0.01064 | 0.0153 |  | 256.8 | 4.9 | 263.3 | 3.9 | 262.6 | 4.7 | 213.9 | 3.3 |  | 263 | 8 |  |
|  | Ma21a12 | 20 | z11 - COR | 0.05141 | 0.0184 | 0.04453 | 0.0140 | 0.3156 | 0.0170 | 0.01181 | 0.0117 |  | 259 | 4.8 | 280.9 | 3.9 | 278.5 | 4.7 | 237.3 | 2.8 |  | 280 | 8 |  |
|  | Ma21a13 | 20 | z13 - COR | 0.05174 | 0.0226 | 0.04366 | 0.0152 | 0.31089 | 0.0219 | 0.01289 | 0.0166 |  | 273.9 | 6.2 | 275.5 | 4.2 | 274.9 | 6.0 | 258.8 | 4.3 |  | 275 | 8 |  |
|  | Ma21a14 | 20 | z14 - OZO | 0.06358 | 0.0230 | 0.03919 | 0.0162 | 0.34369 | 0.0228 | 0.01144 | 0.0184 |  | 727.8 | 16.8 | 247.8 | 4.0 | 300 | 6.8 | 229.9 | 4.2 |  | disc | - |  |
|  | Ma21a15 | 20 | z16 - OZO | 0.08984 | 0.0195 | 0.03286 | 0.0142 | 0.4072 | 0.0181 | 0.01935 | 0.0123 |  | 1422.1 | 27.8 | 208.4 | 3.0 | 346.9 | 6.3 | 387.4 | 4.8 |  | disc | - |  |
|  | Ma21a16 | 20 | z17 - HP | 0.05245 | 0.0210 | 0.03837 | 0.0141 | 0.27757 | 0.0196 | 0.01117 | 0.0123 |  | 305.2 | 6.4 | 242.7 | 3.4 | 248.7 | 4.9 | 224.5 | 2.8 |  | disc | - |  |
|  | Ma21a20 | 20 | z17 - OZO | 0.05126 | 0.0245 | 0.04076 | 0.0155 | 0.28739 | 0.0237 | 0.01243 | 0.0149 |  | 252.6 | 6.2 | 257.5 | 4.0 | 256.5 | 6.1 | 249.8 | 3.7 |  | 257 | 8 |  |
|  | Ma21a21 | 20 | z18 - COR | 0.05097 | 0.0196 | 0.04349 | 0.0151 | 0.30495 | 0.0190 | 0.01319 | 0.0121 |  | 239.3 | 4.7 | 274.4 | 4.1 | 270.3 | 5.1 | 264.9 | 3.2 |  | 273 | 8 |  |
|  | Ma21a22 | 20 | z19 - HP | 0.07462 | 0.0308 | 0.02402 | 0.0165 | 0.24669 | 0.0297 | 0.00557 | 0.0189 |  | 1058 | 32.6 | 153 | 2.5 | 223.9 | 6.7 | 112.3 | 2.1 |  | disc | - |  |
|  | Ma21a23 | 20 | z22 - COR | 0.05772 | 0.0322 | 0.04266 | 0.0163 | 0.33882 | 0.0312 | 0.01352 | 0.0230 |  | 518.9 | 16.7 | 269.3 | 4.4 | 296.3 | 9.2 | 271.4 | 6.2 |  | disc | - |  |
|  | Ma21a24 | 20 | z23 - OZO | 0.07541 | 0.0207 | 0.0284 | 0.0150 | 0.29517 | 0.0198 | 0.00943 | 0.0131 |  | 1079.3 | 22.3 | 180.5 | 2.7 | 262.6 | 5.2 | 189.7 | 2.5 |  | disc | - |  |
|  | Ma21a25 | 20 | z28 - OZO | 0.05068 | 0.0188 | 0.04035 | 0.0143 | 0.28197 | 0.0176 | 0.01316 | 0.0122 |  | 226.2 | 4.2 | 255 | 3.6 | 252.2 | 4.4 | 264.3 | 3.2 |  | 254 | 7 |  |
|  | Ma21a26 | 20 | z29 - OZO | 0.05232 | 0.0251 | 0.0415 | 0.0146 | 0.29937 | 0.0238 | 0.01284 | 0.0152 |  | 299.5 | 7.5 | 262.1 | 3.8 | 265.9 | 6.3 | 257.9 | 3.9 |  | 262 | 8 |  |
|  | Ma21a27 | 20 | z30 - COR | 0.09624 | 0.0181 | 0.02812 | 0.0148 | 0.37301 | 0.0172 | 0.0106 | 0.0111 |  | 1552.5 | 28.1 | 178.8 | 2.7 | 321.9 | 5.5 | 213.1 | 2.4 |  | disc | - |  |
|  | Ma21a28 | 20 | z33 - COR | 0.0554 | 0.0203 | 0.06308 | 0.0156 | 0.48194 | 0.0199 | 0.00777 | 0.0177 |  | 428.2 | 8.7 | 394.3 | 6.2 | 399.4 | 7.9 | 156.5 | 2.8 |  | 396 | 12 |  |
|  | Ma21a29 | 20 | z38 - HP | 0.06236 | 0.0222 | 0.03756 | 0.0152 | 0.32265 | 0.0213 | 0.01234 | 0.0135 |  | 686.3 | 15.2 | 237.7 | 3.6 | 283.9 | 6.0 | 247.8 | 3.3 |  | disc | - |  |
|  | Ma21a30 | 20 | z43 - COR | 0.14578 | 0.0242 | 0.02626 | 0.0168 | 0.52754 | 0.0233 | 0.01529 | 0.0155 |  | 2297 | 55.5 | 167.1 | 2.8 | 430.2 | 10.0 | 306.7 | 4.8 |  | disc | - |  |
|  | Ma21a31 | 20 | z44 - COR | 0.05555 | 0.03972 | 0.04232 | 0.0171 | 0.31165 | 0.0385 | 0.01324 | 0.0293 |  | 434 | 17.24 | 267.2 | 4.6 | 275.5 | 10.6 | 265.8 | 7.8 |  | 267 | 9 |  |
|  | Ma21a32 | 20 | z47 - HP | 0.0503 | 0.02033 | 0.0414 | 0.0151 | 0.2869 | 0.0196 | 0.0125 | 0.0133 |  | 208.4 | 4.237 | 261.7 | 4.0 | 256.1 | 5.0 | 251.8 | 3.4 |  | disc | - |  |
| Standard 02123 | Ma20b19 | 20 | - | 0.05179 | 0.0131 | 0.04709 | 0.0104 | 0.33612 | 0.0132 | 0.01384 | 0.0093 |  | 276 | 5.8 | 296.6 | 4.9 | 294.2 | 6.1 | 277.8 | 7.5 |  | 296 | 10 |  |
|  | Ma21a19 | 20 | - | 0.05263 | 0.0186 | 0.04608 | 0.0098 | 0.33421 | 0.0179 | 0.01509 | 0.0126 |  | 312.9 | 7.3 | 290.4 | 4.1 | 292.8 | 6.4 | 302.8 | 4.2 |  | 291 | 8 |  |
|  | Ma22b20 | 20 | - | 0.05323 | 0.02780 | 0.04448 | 0.0114 | 0.3262 | 0.0270 | 0.01431 | 0.016 |  | 338.5 | 11.8 | 280.5 | 5.4 | 286.7 | 9.5 | 287.2 | 6.3 |  | 281 | 11 |  |
|  | Ap05a14 | 20 | - | 0.05426 | 0.0617 | 0.04616 | 0.0212 | 0.34419 | 0.0609 | 0.0141 | 0.0255 |  | 381.8 | 24.1 | 290.9 | 7.7 | 300.3 | 18.6 | 282.9 | 8.3 |  | 291 | 15 |  |
|  | Ju23d19 | 20 | - | 0.05258 | 0.0195 | 0.04706 | 0.0097 | 0.34125 | 0.0189 | 0.01436 | 0.00974 |  | 310.7 | 4.6 | 296.4 | 4.1 | 298.1 | 5.4 | 288.1 | 3.7 |  | 297 | 9 |  |
|  | jL02C17 | 20 | - | 0.0525 | 0.0384 | 0.0477 | 0.0140 | 0.3442 | 0.0378 | 0.0139 | 0.0136 |  | 308.6 | 13.0 | 300.2 | 6.5 | 300.3 | 12.6 | 279.4 | 8.5 |  | 300 | 13 |  |

Table 4. Trace elements compositions of selected zircons from samples LIS1 (1) and LIS2 (6) from Case Lisetto Metarhyolites and LIC (3) from C-Lithozone. (COR = cores, OZO = oscillatory zoned overgrowths, HP = homogeneous patches). See Table 2 for sample locations.

| Sample-Zircon | LIS1(1)-z6 | LIS1(1)-z6 | LIS1(1)-z6 | LIC(3)-z2 | LIS2(6)-z46 | LIS2(6)-z41 | LIS2(6)-z41 | LIC(3)-z1 | LIC(3)-z1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | HP | COR | OZO | OZO | HP | OZO | HP | HP | OZO |
| U/Pb age (Ma) | 261±11 | 289±12 | 286±12 | 272±8 | - | 263±11 | - | - | 269±8 |
| Element (ppm) |  |  |  |  |  |  |  |  |  |
| Li7 | 30.4 | 14.3 | 25.2 | 42.1 | 140 | 43.2 | 46.5 | 68.4 | 34.7 |
| Be9 | <16.8 | <0.00 | <15.8 | <9.53 | 19.8 | <10.1 | 20.2 | 20.2 | <11.6 |
| B11 | <7.31 | 16.2 | 16.1 | <10.3 | <5.77 | <7.48 | <10.1 | <7.80 | <9.35 |
| Na23 | 52.5 | 196 | 211 | <5.52 | 1263 | 15.9 | <5.96 | 70.8 | 88.2 |
| Mg25 | <2.95 | 78.5 | 149 | <0.00 | 77.5 | 3.74 | <4.14 | 80.1 | 139 |
| Si29 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 |
| Ca43 | 1213 | <1255 | <1272 | <1039 | 2177 | <1156 | <1124 | <1017 | <1143 |
| Ca44 | 1235 | <519 | 2018 | <461 | <429 | <458 | <494 | <447 | <515 |
| Sc45 | 350.6 | 358 | 331 | 327 | 482 | 313 | 437 | 637 | 445 |
| Ti49 | <15.6 | 90.1 | 31.7 | 12.4 | 20.7 | <11.8 | <15.3 | 45.6 | 66.9 |
| V51 | <2.32 | 3.7 | 3.82 | <2.08 | <1.84 | <1.88 | <2.17 | <1.93 | <2.38 |
| Cr53 | <14.3 | <15.5 | <15.4 | <13.6 | 15.7 | 15.4 | <15.8 | <14.4 | <19.5 |
| Co59 | 0.6 | <0.40 | <0.45 | <0.35 | <0.35 | <0.58 | 0.53 | <0.34 | <0.62 |
| Ni60 | 3.3 | <2.62 | 7.44 | <2.75 | <2.41 | <1.99 | 4.11 | <3.32 | <2.83 |
| Zn66 | 7.3 | 5.37 | <3.14 | <2.63 | <2.99 | <3.12 | <3.56 | 6.14 | <4.31 |
| Rb85 | 0.7 | 5.64 | 2.65 | <0.26 | 7.75 | <0.25 | 0.66 | 1.6 | 2.22 |
| Sr88 | 0.5 | 1.28 | 0.46 | 0.72 | 2.15 | 0.7 | 0.65 | 4.98 | 4.65 |
| Y89 | 1239 | 2585 | 1230 | 1423 | 2888 | 1576 | 2856 | 3591 | 4053 |
| Nb93 | 4.0 | 7.29 | 6.98 | 5.67 | 6.07 | 10.9 | 6.18 | 11.2 | 18.5 |
| Cs133 | <0.15 | 0.7 | 0.37 | 0.13 | 0.77 | <0.00 | 0.15 | <0.09 | <0.15 |
| Ba137 | <0.51 | 9.91 | 6.28 | 0.64 | 3.13 | 0.81 | 0.44 | 12.6 | 9.7 |
| La139 | <0.07 | <0.12 | 0.41 | <0.07 | 1.22 | 0.11 | 0.08 | 0.29 | 1.55 |
| Ce140 | 3.8 | 13.3 | 11.8 | 8.31 | 5.87 | 12.17 | 1.43 | 5.56 | 43.8 |
| Pr141 | <0.05 | <0.09 | 0.27 | 0.27 | 0.93 | 0.06 | <0.08 | 0.39 | 2.69 |
| Nd146 | 0.7 | 11.5 | 2.93 | 0.68 | 4.61 | 1.02 | 1.11 | 5.99 | 20.6 |
| Sm149 | 4.0 | 19.3 | 2.59 | 1.59 | 4.52 | 4.34 | 0.54 | 4.07 | 29.7 |
| Eu151 | 0.4 | 3.46 | 0.95 | 0.09 | 0.14 | 0.31 | <0.17 | 1.36 | 8.23 |
| Gd157 | 16.2 | 60.7 | 22.8 | 23.5 | 25.5 | 29.9 | 27.1 | 38.3 | 92.3 |
| Tb159 | 7.4 | 23.9 | 8.1 | 9.31 | 13.9 | 10.3 | 14.1 | 20.2 | 33.1 |
| Dy163 | 117 | 305 | 114 | 129 | 234 | 140 | 220 | 302 | 406 |

Table 4. Continued.

| Sample-Zircon | LIS1(1)-z6 | LIS1(1)-z6 | LIS1(1)-z6 | LIC(3)-z2 | LIS2(6)-z46 | LIS2(6)-z41 | LIS2(6)-z41 | LIC(3)-z1 | LIC(3)-z1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | HP | COR | OZO | OZO | HP | OZO | HP | HP | OZO |
| U/Pb age (Ma) | 259±10 | 272±10 | 258±10 | 258±10 | 254±7 | - | 263±8 | 262±7 | 267±9 |
| Element (ppm) |  |  |  |  |  |  |  |  |  |
| Ho165 | 43.0 | 95.9 | 38.7 | 41.6 | 85.4 | 49.5 | 93.3 | 110 | 133 |
| Er167 | 216 | 388 | 200 | 212 | 462 | 244 | 461 | 549 | 572 |
| Tm169 | 47.2 | 78.2 | 35.8 | 43.6 | 103.8 | 46.6 | 104.3 | 117.9 | 118.1 |
| Yb173 | 451 | 652 | 354 | 395 | 904 | 470 | 966 | 1140 | 1068 |
| Lu175 | 79.9 | 119 | 62.1 | 72.3 | 178 | 76.9 | 174 | 195 | 194 |
| Hf177 | 11032 | 10334 | 10285 | 10890 | 13025 | 10128 | 12020 | 13567 | 11410 |
| Ta181 | 1.1 | 2.16 | 1.02 | 1.56 | 1.69 | 3.99 | 2.22 | 3.94 | 5.7 |
| Pb208 | <0.62 | 3.12 | 11.7 | 4.08 | 2.95 | 8.01 | 1.2 | 2.31 | 19.8 |
| Th232 | 60.3 | 207.2 | 144 | 175 | 90.4 | 281 | 77.6 | 121.8 | 682 |
| U238 | 283 | 402 | 282 | 347 | 965 | 779 | 806 | 1683 | 1417 |

Table 5. Trace elements compositions of selected zircons from samples LiDn (4) and LIDv (5) from D-Lithozone. (COR = cores, OZO = oscillatory zoned overgrowths, HP = homogeneous patches). See Table 2 for sample locations.

| Sample-Zircon | LIDn(4)-z6 | LIDn(4)-z6 | LIDn(4)-z5 | LIDv(4)-z9 | LIDv(4)-z42 | LIDv(5)-z10 | LIDv(5)-z10 | LIDv(5)-z29 | LIDv(5)-z44 | LIDv(5)-z44 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | OZO | COR | OZO | OZO | OZO | HP | OZO | OZO | COR | HP |
| U/Pb age (Ma) | 259±10 | 272±10 | 258±10 | 258±10 | 254±7 | - | 263±8 | 262±7 | 267±9 | - |
| Element (ppm) |  |  |  |  |  |  |  |  |  |  |
| Li7 | <1.84 | 8.4 | 12.3 | <1.94 | 31.1 | <2.38 | 4.7 | 21.7 | 36.1 | <1.99 |
| Be9 | <0.00 | <4.71 | <0.00 | <4.07 | 11.6 | 4.41 | 14.9 | 20.5 | <4.52 | <3.75 |
| B11 | <6.88 | <5.19 | 8.52 | <6.44 | <3.23 | 4.96 | <0.00 | <2.47 | <5.27 | <3.12 |
| Na23 | <2.57 | <3.40 | 11.3 | <4.73 | <2.58 | 4.71 | <14.5 | 13.9 | 20.9 | 510 |
| Mg25 | 95.5 | 91.3 | 116 | 4.74 | 31.9 | <1.70 | 36.1 | 31.4 | 101 | <2.15 |
| Si29 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 | 154255 |
| Ca43 | <375 | <589 | 683 | <552 | <485 | <564 | <490 | <533 | 1961 | <423 |
| Ca44 | <195 | <268 | <253 | 773 | <228 | <234 | <224 | <240 | <243 | <205 |
| Sc45 | 269 | 349 | 437 | 291 | 378 | 340 | 446 | 290 | 315 | 250 |
| Ti49 | 21.8 | 30.9 | 19.3 | <6.26 | 18.3 | <8.12 | <61.8 | 12.6 | 28.1 | <7.53 |
| V51 | <0.92 | <1.30 | <1.14 | <1.07 | 1.66 | <1.06 | <1.03 | 1.08 | 2.73 | <1.00 |
| Cr53 | <8.06 | <12.6 | <12.1 | <9.16 | 15.7 | <10.2 | 21.0 | <10.5 | <10.6 | <9.05 |
| Co59 | 0.25 | <0.21 | <0.17 | 0.19 | <0.18 | 0.34 | 0.43 | 0.29 | <0.23 | <0.22 |
| Ni60 | 5.06 | <1.13 | <1.64 | <0.84 | <0.84 | <0.87 | 3 | <1.34 | <1.30 | <1.16 |

Table 5. Continued.

| Sample-Zircon | LIDn(4)-z6 | LIDn(4)-z6 | LIDn(4)-z5 | LIDv(4)-z9 | LIDv(4)-z42 | LIDv(5)-z10 | LIDv(5)-z10 | LIDv(5)-z29 | LIDv(5)-z44 | LIDv(5)-z44 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | OZO | COR | OZO | OZO | OZO | HP | OZO | OZO | COR | HP |
| U/Pb age (Ma) | 259±10 | 272±10 | 258±10 | 258±10 | 254±7 | - | 263±8 | 262±7 | 267±9 | - |
| Element (ppm) |  |  |  |  |  |  |  |  |  |  |
| Zn66 | 5.06 | <1.13 | <1.64 | <0.84 | <0.84 | <0.87 | 3 | <1.34 | <1.30 | <1.16 |
| Rb85 | <1.77 | <2.40 | 3.53 | 7.28 | <2.02 | <2.21 | <2.10 | <2.37 | <2.38 | 74.92 |
| Sr88 | 1.13 | 2.53 | 2.61 | 0.22 | 0.58 | 0.32 | 0.57 | 0.58 | 2.71 | 0.28 |
| Y89 | <0.05 | 0.45 | 1.15 | 0.24 | 0.64 | 0.19 | 0.96 | 0.53 | 1.39 | 0.31 |
| Nb93 | 1097 | 2091 | 3292 | 1330 | 4066 | 2280 | 3787 | 2604 | 2989 | 1351 |
| Cs133 | 7.01 | 6.29 | 13.1 | 10.5 | 8.36 | 6.53 | 10.32 | 12.1 | 19.6 | 5.8 |
| Ba137 | 0.11 | 0.55 | 0.71 | <0.04 | 0.20 | <0.08 | 0.4 | 0.48 | 0.8 | 0.05 |
| La139 | 0.8 | 2.32 | 4.9 | <0.33 | 2.83 | <0.00 | 1.02 | <0.49 | 5.74 | <0.52 |
| Ce140 | <0.00 | <0.00 | 0.18 | 0.07 | 0.23 | <0.00 | <0.05 | <0.07 | 0.06 | <0.04 |
| Pr141 | 8.52 | 3.21 | 3.51 | 15.3 | 4.56 | 2.11 | 1.6 | 12.0 | 19.0 | 4.33 |
| Nd146 | <0.03 | 0.07 | 0.5 | 0.10 | 0.08 | 0.11 | 0.09 | 0.2 | 0.11 | 0.101 |
| Sm149 | <0.18 | 2.93 | 3.81 | 1.52 | 2.17 | 0.34 | 0.76 | 4.26 | 4.66 | 1.99 |
| Eu151 | <0.23 | 6.31 | 8.06 | 2.97 | 5.69 | 2.75 | 5.7 | 11.9 | 8.07 | 3.47 |
| Gd157 | 0.48 | 0.47 | 1.46 | 0.6 | 0.21 | 0.12 | 1.34 | 0.96 | 2.85 | 0.21 |
| Tb159 | 18.2 | 37.1 | 58.1 | 22.5 | 36.0 | 26.9 | 47.0 | 63.5 | 59.1 | 21.0 |
| Dy163 | 8.3 | 14.7 | 22.5 | 8.8 | 22.1 | 10.9 | 17.9 | 18.8 | 23 | 8.69 |
| Ho165 | 121 | 184 | 328 | 121 | 332 | 177 | 325 | 251 | 288 | 114 |
| Er167 | 37.5 | 68.8 | 108 | 48.9 | 141.1 | 73.1 | 124.5 | 88.4 | 96.4 | 47.0 |
| Tm169 | 185 | 298 | 486 | 198 | 676 | 348 | 562 | 382 | 418 | 213 |
| Yb173 | 40 | 63.4 | 100 | 44.8 | 148 | 76.8 | 131 | 74.9 | 82.8 | 42.6 |
| Lu175 | 345 | 545 | 960 | 436 | 1499 | 728 | 1200 | 649 | 735 | 413 |
| Hf177 | 57.0 | 94 | 144 | 68 | 241 | 126 | 194 | 108 | 111 | 73.5 |
| Ta181 | 10117 | 11068 | 12105 | 11491 | 14493 | 13322 | 14403 | 9572 | 9991 | 9976 |
| Pb208 | 2.58 | 1.31 | 9.46 | 3.25 | 3.92 | 1.41 | 2.5 | 2.41 | 6.3 | 1.58 |
| Th232 | 5.25 | 1.84 | 3.23 | 3.45 | 1.15 | 1.62 | 3.38 | 7.17 | 8.26 | 2.75 |
| U238 | 106 | 123 | 271 | 163 | 224 | 90 | 230 | 316 | 910 | 122 |